## Cool - Norm w TO (hidden)
[5 empty] | Starting cooling load | 1935
| Savings normalized weather |  |  |  | Study cooling load with Adv Therm and 12% have SS | 1892.6235
2.19%
|  | Thermostat Optimization | 3.97% | ComEd report | https://s3.amazonaws.com/ilsag/ComEd_CY2018_Nest_SS_Cooling_Season_Impact_Evaluation_Report_Draft_2018-03-13.pdf
Subtracting out TO from study | 1.725% | % of study had TO | 11.93%
Starting load | 1935
After Adv Thermostat | 1901.6295 | Going forward % with TO | 88.89%
After Adv Thermostat and 89% TO | 1834.525
Overall
New %savings assuming 89% have TO | 5.193% |  |  |  | % of Participants (Study + Future), Nest | 66.64%
[5 empty] | % of Participants (Study + Future), ecobee | 22.24% | Cooling savings from SS
[5 empty] | % of Participants (Study + Future), Other | 11.11% | 2.4% | ETO (Nest Reported) | https://www.energytrust.org/wp-content/uploads/2017/12/Energy-Trust-of-Oregon-Nest-Seasonal-Savers-Pilot-Evaluation-FINAL-wSR.pdf
[5 empty] | 17.9% | Nest participants in study had TO | 0.81% | ETO (Apex evaluated)
[5 empty] | Calculate higher value for demand savings? |  | 2.6%
Note on F5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2.66% per ITT; with an opt-in rate of 67%, this is 3.97% per treated device

## Heat w TO
Heating Calculation | [5 empty] | Current measure (without TO)
[6 empty] | Existing Thermostat Type | Heating_Reduction
| Existing Thermostat Type | Beginning load | After Adv Thermostat | After Adv Thermostat and TO | New Heating_Reduction with TO | Manual | 8.8%
| Manual | 955 | 870.96 | 857.229 | 10.24% | Programmable | 5.6%
| Programmable | 955 | 901.52 | 887.3072 | 7.088% | Unknown (Blended) | 7%
| Unknown (Blended) | 955 | 888.15 | 874.148 | 8.466% |  | (Note these values include ISR)
| Heat load | 955 | therms
| Heating TO savings | 3.91% | ComEd evaluation
| Future TO Opt in rate for Installed Thermostats | 44.8% | Based on current opt in rates and weighting provided by Nest and ecobee
| ISR | 90% | Assumed consistent with Guidehouse cooling study
| Future TO Opt in rate for Purchased Thermostats | 40.32%
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 2.5% per ITT; with an opt-in rate of 64%, this is 3.91% per treated device