## Summary
Summary of Results
Rebates as % of CHP Capital Costs (After Taxes)
|  | Rebate Calc: | DCEO |  |  |  |  | ComEd/Nicor |  |  |  |  | ComEd/Nicor |  |  |  |  | ComEd/Nicor |  |  |  |  | ComEd/Nicor
|  | Savings Calc: | DCEO or AG/NRDC |  |  |  |  | DCEO |  |  |  |  | AG/NRDC |  |  |  |  | DCEO |  |  |  |  | AG/NRDC
|  | Heat Rate: | CHP or eGrid |  |  |  |  | CHP |  |  |  |  | CHP |  |  |  |  | eGrid |  |  |  |  | eGrid
|  | CHP Efficiency: | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max%
Reciprocating Engines
|  | 100 kW | 24.45% | 24.45% | 24.45% | 29.23% | 29.23% | 27.64% | 30.53% | 34.13% | 38.85% | 40.62% | 28.07% | 31.47% | 33.01% | 34.55% | 35.92% | 25.65% | 27.08% | 28.52% | 29.98% | 31.27% | 25.52% | 26.9% | 28.44% | 29.98% | 31.35% | 113% | 124.9% | 139.6% | 132.9% | 139%
|  | 633 kW | 25.91% | 25.91% | 30.97% | 30.97% | 30.97% | 13.76% | 16.72% | 20.31% | 24.23% | 24.66% | 13.89% | 17.13% | 18.83% | 20.54% | 21.63% | 10.36% | 11.67% | 13% | 14.36% | 15.24% | 9.898% | 11.04% | 12.74% | 14.45% | 15.54% | 53.11% | 64.52% | 65.6% | 78.24% | 79.65%
|  | 1,100 kW | 30.98% | 30.98% | 37.03% | 37.03% | 37.03% | 15.1% | 18.5% | 22.6% | 26.86% | 27.24% | 15.5% | 19.27% | 21.19% | 23.09% | 24.08% | 10.82% | 12.29% | 13.78% | 15.29% | 16.09% | 10.32% | 11.61% | 13.52% | 15.42% | 16.42% | 48.75% | 59.72% | 61.04% | 72.53% | 73.58%
|  | 3,300 kW | 35.4% | 35.4% | 38.83% | 38.83% | 38.83% | 18.51% | 22.7% | 27.67% | 31.22% | 31.63% | 18.73% | 23.26% | 25.45% | 27.62% | 28.75% | 12.01% | 13.68% | 15.38% | 17.09% | 17.99% | 11.49% | 12.96% | 15.15% | 17.32% | 18.45% | 52.28% | 64.13% | 71.28% | 80.4% | 81.47%
Gas Combustion Turbines
|  | 3.3 MW | 20.94% | 20.94% |  |  | 20.94% | 6.928% | 9.946% |  |  | 10.11% | 6.858% | 10.19% |  |  | 10.28% | 5.545% | 7.267% |  |  | 7.353% | 4.997% | 6.463% |  |  | 6.546% | 33.09% | 47.51% |  |  | 48.31%
|  | 7 MW | 17.08% | 17.08% |  |  | 17.08% | 12.79% | 17.23% |  |  | 21.77% | 12.86% | 17.5% |  |  | 20.22% | 9.373% | 11.59% |  |  | 13.68% | 8.588% | 10.5% |  |  | 13.22% | 74.9% | 100.9% |  |  | 127.5%
|  | 10 MW | 12.72% | 12.72% |  |  | 12.72% | 12.62% | 16.21% |  |  | 16.21% | 12.64% | 13.03% |  |  | 15.54% | 9.427% | 11.37% |  |  | 12.43% | 8.567% | 10.69% |  |  | 13.19% | 99.25% | 127.5% |  |  | 127.5%
|  | 20 MW | 8.098% | 8.098% |  |  | 8.098% | 10.33% | 10.33% |  |  | 10.33% | 8.301% | 8.301% |  |  | 10.33% | 10.33% | 10.33% |  |  | 10.33% | 8.301% | 8.301% |  |  | 10.33% | 127.5% | 127.5% |  |  | 127.5%
|  | 45 MW | 4.503% | 4.503% |  |  | 4.503% | 5.741% | 5.741% |  |  | 5.741% | 4.615% | 4.615% |  |  | 5.741% | 5.741% | 5.741% |  |  | 5.741% | 4.615% | 4.615% |  |  | 5.741% | 127.5% | 127.5% |  |  | 127.5%
Microturbines
|  | 30 kW | 15.58% | 15.58% | 18.61% |  | 18.61% | 47.17% | 49.06% | 51.46% |  | 53.69% | 47.41% | 49.65% | 50.74% |  | 51.54% | 46.19% | 47.21% | 48.23% |  | 48.98% | 46.11% | 47.08% | 48.17% |  | 48.97% | 302.8% | 315% | 276.5% |  | 288.4%
|  | 65 kW | 20.8% | 20.8% | 20.8% |  | 24.86% | 32.6% | 35.09% | 38.18% |  | 41.68% | 32.96% | 35.88% | 37.22% |  | 38.41% | 31.01% | 32.27% | 33.52% |  | 34.64% | 30.9% | 32.11% | 33.45% |  | 34.63% | 156.7% | 168.7% | 183.6% |  | 167.7%
|  | 200 kW | 21.26% | 21.26% | 21.26% |  | 21.26% | 15.86% | 18.33% | 8.818% |  | 19.43% | 16.26% | 19.13% | 8.818% |  | 19.61% | 13.78% | 14.92% | 8.818% |  | 15.37% | 13.67% | 14.78% | 8.818% |  | 15.25% | 74.61% | 86.21% | 41.47% |  | 91.36%
|  | 250 kW | 24.63% | 24.63% | 29.44% |  | 29.44% | 16.13% | 19% | 23.3% |  | 24.53% | 16.58% | 19.93% | 21.39% |  | 22.43% | 13.83% | 15.18% | 17.29% |  | 17.74% | 13.7% | 15.01% | 16.47% |  | 17.51% | 65.47% | 77.13% | 79.14% |  | 83.32%
|  | 333 kW | 25.94% | 25.94% | 31% |  | 31% | 15.52% | 19.02% | 22.8% |  | 24.94% | 16% | 19.42% | 20.84% |  | 22.22% | 12.7% | 14.58% | 16.08% |  | 16.8% | 12.58% | 13.86% | 15.28% |  | 16.66% | 59.81% | 73.32% |  |  | 80.43%
Notes:
1. Rebates include all rebates, including design, construction, and production rebates for DCEO and feasibility, interconnection, and construction rebates for ComEd/Nicor.
2. ComEd/Nicor rebate calculations assume full $25K rebates for feasibility and interconnection, which probably overstates actual rebates for smaller projects.
3. 200 kW microturbine at 70% efficiency has no savings in DCEO spreadsheet.

## Recip
Recip Engines
| Project Data |  |  |  | Claimed Savings |  |  |  | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
100kW Engine
ECHP
60% Eff | 100 | 588000 | 60.02% | 246.5 | 214034.6403 | 4208.333 | 274306.6277 | 0 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 14982.4248 | 3156.2498 | 68138.6746 | 27.64% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 19201.4639 | 0 | 69201.4639 | 28.07%
65% Eff | 100 | 588000 | 65% | 246.5 | 297587.271 | 5911.8298 | 393803.8077 | 0 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 20831.109 | 4433.8724 | 75264.9813 | 30.53% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 27566.2665 | 0 | 77566.2665 | 31.47%
70% Eff | 100 | 588000 | 69.99% | 246.5 | 403749.6242 | 7819.6235 | 393803.8077 | 5065.2 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 28262.4737 | 5864.7176 | 84127.1913 | 34.13% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 27566.2665 | 3798.9 | 81365.1665 | 33.01%
75% Eff | 100 | 588000 | 75.03% | 246.5 | 547468.7074 | 9936.715 | 393803.8077 | 10130.4 | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 38322.8095 | 7452.5362 | 95775.3458 | 38.85% | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 27566.2665 | 7597.8 | 85164.0665 | 34.55%
100% Thermal | 100 | 588000 | 79.48% | 246.5 | 588000 | 11953.6412 | 393803.8077 | 14632.8 | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 41160 | 8965.2309 | 100125.2309 | 40.62% | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 27566.2665 | 10974.6 | 88540.8665 | 35.92%
79.48%
633kW Engine
ECHP
60% Eff | 633 | 3722040 | 60.01% | 1472.6428 | 1883049.6112 | 20847.5617 | 2207021.8458 | 0 | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 131813.4728 | 20847.5617 | 202661.0345 | 13.76% | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 154491.5292 | 0 | 204491.5292 | 13.89%
65% Eff | 633 | 3722040 | 64.98% | 1472.6428 | 2397675.9595 | 28365.1541 | 2888495.2447 | 0 | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 167837.3172 | 28365.1541 | 246202.4713 | 16.72% | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 202194.6671 | 0 | 252194.6671 | 17.13%
70% Eff | 633 | 3722040 | 70% | 1472.6428 | 3032399.0004 | 36880.0461 | 2888495.2447 | 25131.2 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 212267.93 | 36880.0461 | 299147.9762 | 20.31% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 202194.6671 | 25131.2 | 277325.8671 | 18.83%
75% Eff | 633 | 3722040 | 75.02% | 1472.6428 | 3722040 | 46256.7751 | 2888495.2447 | 50262.4 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 260542.8 | 46256.7751 | 356799.5751 | 24.23% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 202194.6671 | 50262.4 | 302457.0671 | 20.54%
100% Thermal | 633 | 3722040 | 78.22% | 1472.6428 | 3722040 | 52650.5984 | 2888495.2447 | 66275.2 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 260542.8 | 52650.5984 | 363193.3984 | 24.66% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 202194.6671 | 66275.2 | 318469.8671 | 21.63%
78.22%
1.1MW Engine
ECHP
60% Eff | 1121 | 6591480 | 60% | 2181.0736 | 3515135.9622 | 33369.0001 | 4115525.0924 | 0 | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 246059.5174 | 33369.0001 | 329428.5175 | 15.1% | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 288086.7565 | 0 | 338086.7565 | 15.5%
65% Eff | 1121 | 6591480 | 64.99% | 2181.0736 | 4399865.2355 | 45539.2357 | 5289223.0895 | 0 | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 307990.5665 | 45539.2357 | 403529.8022 | 18.5% | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 370245.6163 | 0 | 420245.6163 | 19.27%
70% Eff | 1121 | 6591480 | 70.02% | 2181.0736 | 5480589.8935 | 59317.8481 | 5289223.0895 | 41817.6 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 383641.2925 | 59317.8481 | 492959.1407 | 22.6% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 370245.6163 | 41817.6 | 462063.2163 | 21.19%
75% Eff | 1121 | 6591480 | 75.01% | 2181.0736 | 6591480 | 74365.7396 | 5289223.0895 | 83289.6 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 461403.6 | 74365.7396 | 585769.3396 | 26.86% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 370245.6163 | 83289.6 | 503535.2163 | 23.09%
100% Thermal | 1121 | 6591480 | 77.63% | 2181.0736 | 6591480 | 82783.1258 | 5289223.0895 | 105062.4 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 461403.6 | 82783.1258 | 594186.7258 | 27.24% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 370245.6163 | 105062.4 | 525308.0163 | 24.08%
77.63%
3.3MW Engine
ECHP
60% Eff | 3326 | 19556880 | 59.99% | 5150.9762 | 11725038.8167 | 82462.818 | 13066208.3561 | 0 | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 820752.7172 | 82462.818 | 953215.5352 | 18.51% | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 914634.5849 | 0 | 964634.5849 | 18.73%
65% Eff | 3326 | 19556880 | 65% | 5150.9762 | 14359034.8843 | 114258.507 | 16404191.423 | 0 | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 1005132.4419 | 114258.507 | 1169390.9489 | 22.7% | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 1148293.3996 | 0 | 1198293.3996 | 23.26%
70% Eff | 3326 | 19556880 | 70.02% | 5150.9762 | 17508213.6107 | 149939.4726 | 16404191.423 | 112675.2 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1225574.9528 | 149939.4726 | 1425514.4254 | 27.67% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1148293.3996 | 112675.2 | 1310968.5996 | 25.45%
75% Eff | 3326 | 19556880 | 74.99% | 5150.9762 | 19556880 | 188921.7049 | 16404191.423 | 224496.8 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1368981.6 | 188921.7049 | 1607903.3049 | 31.22% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1148293.3996 | 224496.8 | 1422790.1996 | 27.62%
100% Thermal | 3326 | 19556880 | 77.58% | 5150.9762 | 19556880 | 210478.0173 | 16404191.423 | 282541.6 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1368981.6 | 210478.0173 | 1629459.6173 | 31.63% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 1148293.3996 | 282541.6 | 1480834.9996 | 28.75%
77.58%

## GT
Gas Turbines
| Savings | [7 empty] | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach (65% Threshold)
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
3.3 MW Turbine
ECHP
60% Eff | 3304 | 19427520 | 60% | 8672.3392 | 5784579.6787 | 145939.826 | 7782046.8339 | 0 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 404920.5775 | 145939.826 | 600860.4035 | 6.928% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 544743.2784 | 0 | 594743.2784 | 6.858%
65% Eff | 3304 | 19427520 | 65.02% | 8672.3392 | 8557576.464 | 213547.0131 | 11915524.8237 | 0 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 599030.3525 | 213547.0131 | 862577.3656 | 9.946% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 834086.7377 | 0 | 884086.7377 | 10.19%
100% Thermal | 3304 | 19427520 | 65.27% | 8672.3392 | 8714776.9952 | 217143.486 | 11915524.8237 | 9613.5293 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 610034.3897 | 217143.486 | 877177.8757 | 10.11% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 834086.7377 | 7210.1469 | 891296.8846 | 10.28%
65.27%
7.0 MW Turbine
ECHP
60% Eff | 7038 | 41383440 | 60.01% | 11711.232 | 16658616.5097 | 281913.3461 | 20793841.0957 | 0 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1166103.1557 | 281913.3461 | 1498016.5018 | 12.79% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1455568.8767 | 0 | 1505568.8767 | 12.86%
65% Eff | 7038 | 41383440 | 65.01% | 11711.232 | 22533480.7122 | 390564.9484 | 29006967.3994 | 0 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1577343.6499 | 390564.9484 | 2017908.5982 | 17.23% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 2000000 | 0 | 2050000 | 17.5%
100% Thermal | 7038 | 41383440 | 69.79% | 11711.232 | 29572754.9218 | 507098.2169 | 29006967.3994 | 318364.673 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 21.77% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 2000000 | 318364.673 | 2368364.673 | 20.22%
69.79%
10 MW Turbine
ECHP
60% Eff | 9950 | 58506000 | 60.02% | 15728.96 | 21708167.7108 | 415453.9475 | 27685107.4137 | 0 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1519571.7398 | 415453.9475 | 1985025.6873 | 12.62% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1937957.519 | 0 | 1987957.519 | 12.64%
65% Eff | 9950 | 58506000 | 65% | 15728.96 | 30003228.4567 | 581554.8558 | 39501086.5275 | 0 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 16.21% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 2000000 | 0 | 2050000 | 13.03%
100% Thermal | 9950 | 58506000 | 68.96% | 15728.96 | 38147559.5596 | 728223.3769 | 39501086.5275 | 393747.2 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 16.21% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 2000000 | 393747.2 | 2443747.2 | 15.54%
68.96%
20 MW Turbine
ECHP
60% Eff | 20336 | 119575680 | 59.99% | 24696.0384 | 57836265.0691 | 703308.2661 | 68637320.717 | 0 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 0 | 2050000 | 8.301%
65% Eff | 20336 | 119575680 | 64.99% | 24696.0384 | 74544986.0955 | 959222.4726 | 91004493.7254 | 0 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 0 | 2050000 | 8.301%
100% Thermal | 20336 | 119575680 | 69.88% | 24696.0384 | 94572067.7413 | 1239762.2021 | 91004493.7254 | 815553.6 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33%
69.88%
44.5 MW Turbine
ECHP
60% Eff | 44488 | 261589440 | 60% | 44416.8192 | 138783309.195 | 1374995.8606 | 160419527.0049 | 0 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 0 | 2050000 | 4.615%
65% Eff | 44488 | 261589440 | 65% | 44416.8192 | 174846238.1956 | 1874938.3508 | 207607000.7463 | 0 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 0 | 2050000 | 4.615%
100% Thermal | 44488 | 261589440 | 68.12% | 44416.8192 | 201139782.1048 | 2218830.4098 | 207607000.7463 | 1054272 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741%
68.12%

## MT
Microturbines
| Project Data |  |  |  | Claimed Savings |  |  |  | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
30 kW Turbine
ECHP
60% Eff | 30 | 176400 | 60.01% | 116.1 | 53892.7696 | 1321.1825 | 72077.9701 | 0 | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 3772.4939 | 990.8869 | 54763.3808 | 47.17% | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 5045.4579 | 0 | 55045.4579 | 47.41%
65% Eff | 30 | 176400 | 64.99% | 116.1 | 78932.2111 | 1918.7296 | 109235.1875 | 0 | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 5525.2548 | 1439.0472 | 56964.302 | 49.06% | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 7646.4631 | 0 | 57646.4631 | 49.65%
70% Eff | 30 | 176400 | 70% | 116.1 | 111513.7086 | 2590.1268 | 109235.1875 | 1688.4 | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 7805.9596 | 1942.5951 | 59748.5547 | 51.46% | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 7646.4631 | 1266.3 | 58912.7631 | 50.74%
100% Thermal | 30 | 176400 | 73.67% | 116.1 | 142689.4488 | 3122.2134 | 109235.1875 | 2923.2 | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 9988.2614 | 2341.66 | 62329.9215 | 53.69% | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 7646.4631 | 2192.4 | 59838.8631 | 51.54%
73.67%
65 kW Turbine
ECHP
60% Eff | 65 | 382200 | 60% | 188.37 | 133322.6391 | 2772.3432 | 172632.3629 | 0 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 9332.5847 | 2079.2574 | 61411.8422 | 32.6% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 12084.2654 | 0 | 62084.2654 | 32.96%
65% Eff | 65 | 382200 | 65.01% | 188.37 | 187906.989 | 3928.9036 | 251375.8837 | 0 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 13153.4892 | 2946.6777 | 66100.167 | 35.09% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 17596.3119 | 0 | 67596.3119 | 35.88%
70% Eff | 65 | 382200 | 69.99% | 188.37 | 257270.7216 | 5217.6557 | 251375.8837 | 3364.5229 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 18008.9505 | 3913.2417 | 71922.1923 | 38.18% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 17596.3119 | 2523.3922 | 70119.704 | 37.22%
100% Thermal | 65 | 382200 | 74.39% | 188.37 | 338013.5692 | 6459.8165 | 251375.8837 | 6332.9229 | 4875 | 11375 | 30576 | 46826 | 24.86% | 25000 | 25000 | 23660.9498 | 4844.8624 | 78505.8122 | 41.68% | 4875 | 11375 | 30576 | 46826 | 24.86% | 25000 | 25000 | 17596.3119 | 4749.6922 | 72346.004 | 38.41%
74.39%
200 kW Turbine
ECHP
60% Eff | 200 | 1176000 | 59.99% | 567 | 486502.089 | 7864.9451 | 602623.5187 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 34055.1462 | 5898.7088 | 89953.8551 | 15.86% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 42183.6463 | 0 | 92183.6463 | 16.26%
65% Eff | 200 | 1176000 | 65.01% | 567 | 654010.5362 | 10876.9969 | 835180.2184 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 45780.7375 | 8157.7477 | 103938.4852 | 18.33% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 58462.6153 | 0 | 108462.6153 | 19.13%
70% Eff | 200 | 1176000 | 66.95% | 567 | 0 | 0 | 0 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 0 | 0 | 50000 | 8.818% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 0 | 0 | 50000 | 8.818%
100% Thermal | 200 | 1176000 | 66.95% | 567 | 729159.1802 | 12141.1483 | 835180.2184 | 3599.6889 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 51041.1426 | 9105.8612 | 110147.0038 | 19.43% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 58462.6153 | 2699.7667 | 111162.382 | 19.61%
66.95%
250 kW Turbine
ECHP
60% Eff | 250 | 1470000 | 59.99% | 611.775 | 587749.9638 | 10029.9675 | 734609.7335 | 0 | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 41142.4975 | 7522.4756 | 98664.9731 | 16.13% | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 51422.6813 | 0 | 101422.6813 | 16.58%
65% Eff | 250 | 1470000 | 65% | 611.775 | 797094.075 | 13923.0904 | 1027670.7624 | 0 | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 55796.5853 | 10442.3178 | 116238.903 | 19% | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 71936.9534 | 0 | 121936.9534 | 19.93%
70% Eff | 250 | 1470000 | 70.01% | 611.775 | 1060606.5321 | 18290.195 | 1027670.7624 | 11879.8951 | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 74242.4572 | 18290.195 | 142532.6523 | 23.3% | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 71936.9534 | 8909.9213 | 130846.8747 | 21.39%
100% Thermal | 250 | 1470000 | 71.44% | 611.775 | 1149150.3407 | 19613.3383 | 1027670.7624 | 15259.0951 | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 80440.5238 | 19613.3383 | 150053.8622 | 24.53% | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 71936.9534 | 15259.0951 | 137196.0485 | 22.43%
71.44%
333 kW Turbine
ECHP
60% Eff | 333 | 1958040 | 60% | 773.8254 | 866949.3387 | 12498.0175 | 1054626.8586 | 0 | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 60686.4537 | 9373.5131 | 120059.9668 | 15.52% | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 73823.8801 | 0 | 123823.8801 | 16%
65% Eff | 333 | 1958040 | 65% | 773.8254 | 1143349.9413 | 17142.0618 | 1432590.0373 | 0 | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 80034.4959 | 17142.0618 | 147176.5577 | 19.02% | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 100281.3026 | 0 | 150281.3026 | 19.42%
70% Eff | 333 | 1958040 | 70% | 773.8254 | 1486946.4151 | 22353.7701 | 1432590.0373 | 14663.8511 | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 104086.2491 | 22353.7701 | 176440.0192 | 22.8% | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 100281.3026 | 10997.8884 | 161279.191 | 20.84%
100% Thermal | 333 | 1958040 | 72.4% | 773.8254 | 1684560.5764 | 25037.2731 | 1432590.0373 | 21686.2511 | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 117919.2404 | 25037.2731 | 192956.5134 | 24.94% | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 100281.3026 | 21686.2511 | 171967.5538 | 22.22%
72.4%

## Recip_Hgrid
Recip Engines
| Project Data |  |  |  | Claimed Savings |  |  |  | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
100kW Engine
ECHP
60% Eff | 100 | 588000 | 60.02% | 246.5 | 143945.3443 | 4208.333 | 184480.2407 | 0 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 10076.1741 | 3156.2498 | 63232.4239 | 25.65% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 12913.6168 | 0 | 62913.6168 | 25.52%
65% Eff | 100 | 588000 | 65% | 246.5 | 176067.3164 | 5911.8298 | 232993.7682 | 0 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 12324.7121 | 4433.8724 | 66758.5845 | 27.08% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 16309.5638 | 0 | 66309.5638 | 26.9%
70% Eff | 100 | 588000 | 69.99% | 246.5 | 206221.4894 | 7819.6235 | 232993.7682 | 5065.2 | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 14435.5043 | 5864.7176 | 70300.2219 | 28.52% | 7500 | 17500 | 35280 | 60280 | 24.45% | 25000 | 25000 | 16309.5638 | 3798.9 | 70108.4638 | 28.44%
75% Eff | 100 | 588000 | 75.03% | 246.5 | 234875.9729 | 9936.715 | 232993.7682 | 10130.4 | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 16441.3181 | 7452.5362 | 73893.8543 | 29.98% | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 16309.5638 | 7597.8 | 73907.3638 | 29.98%
100% Thermal | 100 | 588000 | 79.48% | 246.5 | 258816.1942 | 11953.6412 | 232993.7682 | 14632.8 | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 18117.1336 | 8965.2309 | 77082.3645 | 31.27% | 7500 | 17500 | 47040 | 72040 | 29.23% | 25000 | 25000 | 16309.5638 | 10974.6 | 77284.1638 | 31.35%
79.48%
633kW Engine
ECHP
60% Eff | 633 | 3722040 | 60.01% | 1472.6428 | 1167154.1178 | 20847.5617 | 1367958.9853 | 0 | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 81700.7882 | 20847.5617 | 152548.35 | 10.36% | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 95757.129 | 0 | 145757.129 | 9.898%
65% Eff | 633 | 3722040 | 64.98% | 1472.6428 | 1334667.1914 | 28365.1541 | 1607881.9243 | 0 | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 93426.7034 | 28365.1541 | 171791.8575 | 11.67% | 47475 | 110775 | 223322.4 | 381572.4 | 25.91% | 25000 | 25000 | 112551.7347 | 0 | 162551.7347 | 11.04%
70% Eff | 633 | 3722040 | 70% | 1472.6428 | 1494716.3886 | 36880.0461 | 1607881.9243 | 25131.2 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 104630.1472 | 36880.0461 | 191510.1933 | 13% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 112551.7347 | 25131.2 | 187682.9347 | 12.74%
75% Eff | 633 | 3722040 | 75.02% | 1472.6428 | 1646464.3247 | 46256.7751 | 1607881.9243 | 50262.4 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 115252.5027 | 46256.7751 | 211509.2778 | 14.36% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 112551.7347 | 50262.4 | 212814.1347 | 14.45%
100% Thermal | 633 | 3722040 | 78.22% | 1472.6428 | 1739114.8401 | 52650.5984 | 1607881.9243 | 66275.2 | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 121738.0388 | 52650.5984 | 224388.6372 | 15.24% | 47475 | 110775 | 297763.2 | 456013.2 | 30.97% | 25000 | 25000 | 112551.7347 | 66275.2 | 228826.9347 | 15.54%
78.22%
1.1MW Engine
ECHP
60% Eff | 1121 | 6591480 | 60% | 2181.0736 | 2180763.7099 | 33369.0001 | 2502175.7645 | 0 | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 152653.4597 | 33369.0001 | 236022.4598 | 10.82% | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 175152.3035 | 0 | 225152.3035 | 10.32%
65% Eff | 1121 | 6591480 | 64.99% | 2181.0736 | 2462999.9255 | 45539.2357 | 2901636.3617 | 0 | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 172409.9948 | 45539.2357 | 267949.2305 | 12.29% | 84075 | 196175 | 395488.8 | 675738.8 | 30.98% | 25000 | 25000 | 203114.5453 | 0 | 253114.5453 | 11.61%
70% Eff | 1121 | 6591480 | 70.02% | 2181.0736 | 2733073.0039 | 59317.8481 | 2901636.3617 | 41817.6 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 191315.1103 | 59317.8481 | 300632.9584 | 13.78% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 203114.5453 | 41817.6 | 294932.1453 | 13.52%
75% Eff | 1121 | 6591480 | 75.01% | 2181.0736 | 2987591.4781 | 74365.7396 | 2901636.3617 | 83289.6 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 209131.4035 | 74365.7396 | 333497.1431 | 15.29% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 203114.5453 | 83289.6 | 336404.1453 | 15.42%
100% Thermal | 1121 | 6591480 | 77.63% | 2181.0736 | 3116231.5626 | 82783.1258 | 2901636.3617 | 105062.4 | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 218136.2094 | 82783.1258 | 350919.3352 | 16.09% | 84075 | 196175 | 527318.4 | 807568.4 | 37.03% | 25000 | 25000 | 203114.5453 | 105062.4 | 358176.9453 | 16.42%
77.63%
3.3MW Engine
ECHP
60% Eff | 3326 | 19556880 | 59.99% | 5150.9762 | 6943968.5759 | 82462.818 | 7738254.9986 | 0 | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 486077.8003 | 82462.818 | 618540.6183 | 12.01% | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 541677.8499 | 0 | 591677.8499 | 11.49%
65% Eff | 3326 | 19556880 | 65% | 5150.9762 | 7723004.4982 | 114258.507 | 8822991.5987 | 0 | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 540610.3149 | 114258.507 | 704868.8219 | 13.68% | 195000 | 455000 | 1173412.8 | 1823412.8 | 35.4% | 25000 | 25000 | 617609.4119 | 0 | 667609.4119 | 12.96%
70% Eff | 3326 | 19556880 | 70.02% | 5150.9762 | 8464617.221 | 149939.4726 | 8822991.5987 | 112675.2 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 592523.2055 | 149939.4726 | 792462.6781 | 15.38% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 617609.4119 | 112675.2 | 780284.6119 | 15.15%
75% Eff | 3326 | 19556880 | 74.99% | 5150.9762 | 9166210.0382 | 188921.7049 | 8822991.5987 | 224496.8 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 641634.7027 | 188921.7049 | 880556.4076 | 17.09% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 617609.4119 | 224496.8 | 892106.2119 | 17.32%
100% Thermal | 3326 | 19556880 | 77.58% | 5150.9762 | 9517669.1688 | 210478.0173 | 8822991.5987 | 282541.6 | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 666236.8418 | 210478.0173 | 926714.8591 | 17.99% | 195000 | 455000 | 1350000 | 2000000 | 38.83% | 25000 | 25000 | 617609.4119 | 282541.6 | 950151.0119 | 18.45%
77.58%

## GT_Hgrid
Gas Turbines
| Savings | [7 empty] | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach (65% Threshold)
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
3.3 MW Turbine
ECHP
60% Eff | 3304 | 19427520 | 60% | 8672.3392 | 4070848.6107 | 145939.826 | 5476549.0842 | 0 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 284959.4027 | 145939.826 | 480899.2287 | 5.545% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 383358.4359 | 0 | 433358.4359 | 4.997%
65% Eff | 3304 | 19427520 | 65.02% | 8672.3392 | 5237568.0341 | 213547.0131 | 7292762.4063 | 0 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 366629.7624 | 213547.0131 | 630176.7755 | 7.267% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 510493.3684 | 0 | 560493.3684 | 6.463%
100% Thermal | 3304 | 19427520 | 65.27% | 8672.3392 | 5293822.3872 | 217143.486 | 7292762.4063 | 9613.5293 | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 370567.5671 | 217143.486 | 637711.0532 | 7.353% | 195000 | 455000 | 1165651.2 | 1815651.2 | 20.94% | 25000 | 25000 | 510493.3684 | 7210.1469 | 567703.5154 | 6.546%
65.27%
7.0 MW Turbine
ECHP
60% Eff | 7038 | 41383440 | 60.01% | 11711.232 | 10938919.6638 | 281913.3461 | 13654324.6023 | 0 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 765724.3765 | 281913.3461 | 1097637.7226 | 9.373% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 955802.7222 | 0 | 1005802.7222 | 8.588%
65% Eff | 7038 | 41383440 | 65.01% | 11711.232 | 13090239.1924 | 390564.9484 | 16850842.8127 | 0 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 916316.7435 | 390564.9484 | 1356881.6918 | 11.59% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1179558.9969 | 0 | 1229558.9969 | 10.5%
100% Thermal | 7038 | 41383440 | 69.79% | 11711.232 | 15032950.8818 | 507098.2169 | 16850842.8127 | 318364.673 | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1052306.5617 | 500000 | 1602306.5617 | 13.68% | 195000 | 455000 | 1350000 | 2000000 | 17.08% | 25000 | 25000 | 1179558.9969 | 318364.673 | 1547923.6699 | 13.22%
69.79%
10 MW Turbine
ECHP
60% Eff | 9950 | 58506000 | 60.02% | 15728.96 | 14534033.2887 | 415453.9475 | 18535708.6841 | 0 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1017382.3302 | 415453.9475 | 1482836.2778 | 9.427% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1297499.6079 | 0 | 1347499.6079 | 8.567%
65% Eff | 9950 | 58506000 | 65% | 15728.96 | 17695057.0355 | 581554.8558 | 23296625.564 | 0 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1238653.9925 | 500000 | 1788653.9925 | 11.37% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1630763.7895 | 0 | 1680763.7895 | 10.69%
100% Thermal | 9950 | 58506000 | 68.96% | 15728.96 | 20074932.5332 | 728223.3769 | 23296625.564 | 393747.2 | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1405245.2773 | 500000 | 1955245.2773 | 12.43% | 195000 | 455000 | 1350000 | 2000000 | 12.72% | 25000 | 25000 | 1630763.7895 | 393747.2 | 2074510.9895 | 13.19%
68.96%
20 MW Turbine
ECHP
60% Eff | 20336 | 119575680 | 59.99% | 24696.0384 | 36274273.6307 | 703308.2661 | 43048577.7392 | 0 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 0 | 2050000 | 8.301%
65% Eff | 20336 | 119575680 | 64.99% | 24696.0384 | 41844647.1843 | 959222.4726 | 51083931.0808 | 0 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 0 | 2050000 | 8.301%
100% Thermal | 20336 | 119575680 | 69.88% | 24696.0384 | 46997930.3685 | 1239762.2021 | 51083931.0808 | 815553.6 | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33% | 195000 | 455000 | 1350000 | 2000000 | 8.098% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 10.33%
69.88%
44.5 MW Turbine
ECHP
60% Eff | 44488 | 261589440 | 60% | 44416.8192 | 84952517.1892 | 1374995.8606 | 98196553.3494 | 0 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 0 | 2050000 | 4.615%
65% Eff | 44488 | 261589440 | 65% | 44416.8192 | 96384733.3995 | 1874938.3508 | 114444243.2695 | 0 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 0 | 2050000 | 4.615%
100% Thermal | 44488 | 261589440 | 68.12% | 44416.8192 | 103227152.2723 | 2218830.4098 | 114444243.2695 | 1054272 | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741% | 195000 | 455000 | 1350000 | 2000000 | 4.503% | 25000 | 25000 | 2000000 | 500000 | 2550000 | 5.741%
68.12%

## MT_Hgrid
Microturbines
| Project Data |  |  |  | Claimed Savings |  |  |  | Rebate: DCEO Approach | [10 empty] | Rebate: AG/NRDC Approach
| Project Data |  |  |  | DCEO Approach |  | AG/NRDC 65% Threshold |  | DCEO |  |  |  |  | ComEd/Nicor | [5 empty] | DCEO |  |  |  |  | ComEd/Nicor
| Capacity | Net Generation | Total CHP Efficiency | Installed Cost | Electric | Gas | Electric | Gas | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost | Design | Construc- tion | Produc- tion | Total | % of Net Installed Cost | Feasibility | Inter- Connection | Construc- tion (Electric) | Construc- tion (Gas) | Total | % of Net Installed Cost
| (kW) | (kWh) | (%) | ($000) | (kWh) | (therms) | (kWh) | (therms)
30 kW Turbine
ECHP
60% Eff | 30 | 176400 | 60.01% | 116.1 | 37713.27 | 1321.1825 | 50438.973 | 0 | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 2639.9289 | 990.8869 | 53630.8158 | 46.19% | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 3530.7281 | 0 | 53530.7281 | 46.11%
65% Eff | 30 | 176400 | 64.99% | 116.1 | 48139.5163 | 1918.7296 | 66620.8259 | 0 | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 3369.7661 | 1439.0472 | 54808.8133 | 47.21% | 2250 | 5250 | 10584 | 18084 | 15.58% | 25000 | 25000 | 4663.4578 | 0 | 54663.4578 | 47.08%
70% Eff | 30 | 176400 | 70% | 116.1 | 57935.3439 | 2590.1268 | 66620.8259 | 1688.4 | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 4055.4741 | 1942.5951 | 55998.0691 | 48.23% | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 4663.4578 | 1266.3 | 55929.7578 | 48.17%
100% Thermal | 30 | 176400 | 73.67% | 116.1 | 64703.9179 | 3122.2134 | 66620.8259 | 2923.2 | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 4529.2743 | 2341.66 | 56870.9343 | 48.98% | 2250 | 5250 | 14112 | 21612 | 18.61% | 25000 | 25000 | 4663.4578 | 2192.4 | 56855.8578 | 48.97%
73.67%
65 kW Turbine
ECHP
60% Eff | 65 | 382200 | 60% | 188.37 | 90566.9777 | 2772.3432 | 117270.3411 | 0 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 6339.6884 | 2079.2574 | 58418.9459 | 31.01% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 8208.9239 | 0 | 58208.9239 | 30.9%
65% Eff | 65 | 382200 | 65.01% | 188.37 | 111967.8597 | 3928.9036 | 149786.9761 | 0 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 7837.7502 | 2946.6777 | 60784.4279 | 32.27% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 10485.0883 | 0 | 60485.0883 | 32.11%
70% Eff | 65 | 382200 | 69.99% | 188.37 | 131937.4987 | 5217.6557 | 149786.9761 | 3364.5229 | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 9235.6249 | 3913.2417 | 63148.8667 | 33.52% | 4875 | 11375 | 22932 | 39182 | 20.8% | 25000 | 25000 | 10485.0883 | 2523.3922 | 63008.4805 | 33.45%
100% Thermal | 65 | 382200 | 74.39% | 188.37 | 148564.7297 | 6459.8165 | 149786.9761 | 6332.9229 | 4875 | 11375 | 30576 | 46826 | 24.86% | 25000 | 25000 | 10399.5311 | 4844.8624 | 65244.3935 | 34.64% | 4875 | 11375 | 30576 | 46826 | 24.86% | 25000 | 25000 | 10485.0883 | 4749.6922 | 65234.7805 | 34.63%
74.39%
200 kW Turbine
ECHP
60% Eff | 200 | 1176000 | 59.99% | 567 | 317385.4389 | 7864.9451 | 393141.0251 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 22216.9807 | 5898.7088 | 78115.6896 | 13.78% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 27519.8718 | 0 | 77519.8718 | 13.67%
65% Eff | 200 | 1176000 | 65.01% | 567 | 377881.953 | 10876.9969 | 482560.3175 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 26451.7367 | 8157.7477 | 84609.4844 | 14.92% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 33779.2222 | 0 | 83779.2222 | 14.78%
70% Eff | 200 | 1176000 | 66.95% | 567 | 0 | 0 | 0 | 0 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 0 | 0 | 50000 | 8.818% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 0 | 0 | 50000 | 8.818%
100% Thermal | 200 | 1176000 | 66.95% | 567 | 400288.5082 | 12141.1483 | 482560.3175 | 3599.6889 | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 28020.1956 | 9105.8612 | 87126.0568 | 15.37% | 15000 | 35000 | 70560 | 120560 | 21.26% | 25000 | 25000 | 33779.2222 | 2699.7667 | 86478.9889 | 15.25%
66.95%
250 kW Turbine
ECHP
60% Eff | 250 | 1470000 | 59.99% | 611.775 | 386641.3154 | 10029.9675 | 483250.5167 | 0 | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 27064.8921 | 7522.4756 | 84587.3677 | 13.83% | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 33827.5362 | 0 | 83827.5362 | 13.7%
65% Eff | 250 | 1470000 | 65% | 611.775 | 463555.946 | 13923.0904 | 597649.5213 | 0 | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 32448.9162 | 10442.3178 | 92891.234 | 15.18% | 18750 | 43750 | 88200 | 150700 | 24.63% | 25000 | 25000 | 41835.4665 | 0 | 91835.4665 | 15.01%
70% Eff | 250 | 1470000 | 70.01% | 611.775 | 535905.1579 | 18290.195 | 597649.5213 | 11879.8951 | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 37513.3611 | 18290.195 | 105803.5561 | 17.29% | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 41835.4665 | 8909.9213 | 100745.3878 | 16.47%
100% Thermal | 250 | 1470000 | 71.44% | 611.775 | 555709.2098 | 19613.3383 | 597649.5213 | 15259.0951 | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 38899.6447 | 19613.3383 | 108512.983 | 17.74% | 18750 | 43750 | 117600 | 180100 | 29.44% | 25000 | 25000 | 41835.4665 | 15259.0951 | 107094.5616 | 17.51%
71.44%
333 kW Turbine
ECHP
60% Eff | 333 | 1958040 | 60% | 773.8254 | 556085.4837 | 12498.0175 | 676467.079 | 0 | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 38925.9839 | 9373.5131 | 98299.497 | 12.7% | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 47352.6955 | 0 | 97352.6955 | 12.58%
65% Eff | 333 | 1958040 | 65% | 773.8254 | 652567.4281 | 17142.0618 | 817651.3265 | 0 | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 45679.72 | 17142.0618 | 112821.7818 | 14.58% | 24975 | 58275 | 117482.4 | 200732.4 | 25.94% | 25000 | 25000 | 57235.5929 | 0 | 107235.5929 | 13.86%
70% Eff | 333 | 1958040 | 70% | 773.8254 | 743581.6017 | 22353.7701 | 817651.3265 | 14663.8511 | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 52050.7121 | 22353.7701 | 124404.4822 | 16.08% | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 57235.5929 | 10997.8884 | 118233.4812 | 15.28%
100% Thermal | 333 | 1958040 | 72.4% | 773.8254 | 785374.098 | 25037.2731 | 817651.3265 | 21686.2511 | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 54976.1869 | 25037.2731 | 130013.4599 | 16.8% | 24975 | 58275 | 156643.2 | 239893.2 | 31% | 25000 | 25000 | 57235.5929 | 21686.2511 | 128921.844 | 16.66%
72.4%

## RebateStructure
IL CHP Rebate Comparison
Rebate Structures
DCEO
|  | Design Assistance |  | 75 | /kW | 195000 | Design cap
|  | Construction |  | 175 | /kW | 650000 | Total design/constrution cap
Production
|  |  | <70% Efficiency | 0.06 | /annual kWh
|  |  | >70% Efficiency | 0.08 | /annual kWh | 1350000 | Production cap
ComEd/Nicor
|  | Feasibility |  | 25000 | /project
|  | Interconnection |  | 25000 | /project
|  | Construction (Electric) |  | 0.07 | /annual kWh | 2000000 | Construction cap
Construction (Natural Gas)
|  |  | <15,000 therms | 0.75 | /annual therm
|  |  | >15,000 therms | 1 | /annual therm | 500000 | Construction cap

## GrafDat
Data for Graphs
|  | 100 kW Recip |  |  |  |  | 633 kW Recip |  |  |  |  | 1,100 kW Recip |  |  |  |  | 3,300 kW Recip
|  | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max%
| DCEO Rebate | 24.45% | 24.45% | 24.45% | 29.23% | 29.23% | 25.91% | 25.91% | 30.97% | 30.97% | 30.97% | 30.98% | 30.98% | 37.03% | 37.03% | 37.03% | 35.4% | 35.4% | 38.83% | 38.83% | 38.83%
| ComEd/Nicor $; DCEO Method; CHP HR | 27.64% | 30.53% | 34.13% | 38.85% | 40.62% | 13.76% | 16.72% | 20.31% | 24.23% | 24.66% | 15.1% | 18.5% | 22.6% | 26.86% | 27.24% | 18.51% | 22.7% | 27.67% | 31.22% | 31.63%
| ComEd/Nicor $; AG/NRDC Method; CHP HR | 28.07% | 31.47% | 33.01% | 34.55% | 35.92% | 13.89% | 17.13% | 18.83% | 20.54% | 21.63% | 15.5% | 19.27% | 21.19% | 23.09% | 24.08% | 18.73% | 23.26% | 25.45% | 27.62% | 28.75%
| ComEd/Nicor $; DCEO Method; eGrid HR | 25.65% | 27.08% | 28.52% | 29.98% | 31.27% | 10.36% | 11.67% | 13% | 14.36% | 15.24% | 10.82% | 12.29% | 13.78% | 15.29% | 16.09% | 12.01% | 13.68% | 15.38% | 17.09% | 17.99%
| ComEd/Nicor $; AG/NRDC Method; eGrid HR | 25.52% | 26.9% | 28.44% | 29.98% | 31.35% | 9.898% | 11.04% | 12.74% | 14.45% | 15.54% | 10.32% | 11.61% | 13.52% | 15.42% | 16.42% | 11.49% | 12.96% | 15.15% | 17.32% | 18.45%
|  | 3.3 MW GT |  |  |  |  | 7 MW GT |  |  |  |  | 10 MW GT |  |  |  |  | 20 MW GT |  |  |  |  | 45 MW GT
|  | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max%
| DCEO Rebate | 20.94% | 20.94% | 0% | 0% | 20.94% | 17.08% | 17.08% | 0% | 0% | 17.08% | 12.72% | 12.72% | 0% | 0% | 12.72% | 8.098% | 8.098% | 0% | 0% | 8.098% | 4.503% | 4.503% | 0% | 0% | 4.503%
| ComEd/Nicor $; DCEO Method; CHP HR | 6.928% | 9.946% | 0% | 0% | 10.11% | 12.79% | 17.23% | 0% | 0% | 21.77% | 12.62% | 16.21% | 0% | 0% | 16.21% | 10.33% | 10.33% | 0% | 0% | 10.33% | 5.741% | 5.741% | 0% | 0% | 5.741%
| ComEd/Nicor $; AG/NRDC Method; CHP HR | 6.858% | 10.19% | 0% | 0% | 10.28% | 12.86% | 17.5% | 0% | 0% | 20.22% | 12.64% | 13.03% | 0% | 0% | 15.54% | 8.301% | 8.301% | 0% | 0% | 10.33% | 4.615% | 4.615% | 0% | 0% | 5.741%
| ComEd/Nicor $; DCEO Method; eGrid HR | 5.545% | 7.267% | 0% | 0% | 7.353% | 9.373% | 11.59% | 0% | 0% | 13.68% | 9.427% | 11.37% | 0% | 0% | 12.43% | 10.33% | 10.33% | 0% | 0% | 10.33% | 5.741% | 5.741% | 0% | 0% | 5.741%
| ComEd/Nicor $; AG/NRDC Method; eGrid HR | 4.997% | 6.463% | 0% | 0% | 6.546% | 8.588% | 10.5% | 0% | 0% | 13.22% | 8.567% | 10.69% | 0% | 0% | 13.19% | 8.301% | 8.301% | 0% | 0% | 10.33% | 4.615% | 4.615% | 0% | 0% | 5.741%
|  | 30 kW MT |  |  |  |  | 65 kW MT |  |  |  |  | 200 kW MT |  |  |  |  | 250 kW MT |  |  |  |  | 333 kW MT
|  | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max% | 60% | 65% | 70% | 75% | Max%
| DCEO Rebate | 15.58% | 15.58% | 18.61% | 0% | 18.61% | 20.8% | 20.8% | 20.8% | 0% | 24.86% | 21.26% | 21.26% | 21.26% | 0% | 21.26% | 24.63% | 24.63% | 29.44% | 0% | 29.44% | 25.94% | 25.94% | 31% | 0% | 31%
| ComEd/Nicor $; DCEO Method; CHP HR | 47.17% | 49.06% | 51.46% | 0% | 53.69% | 32.6% | 35.09% | 38.18% | 0% | 41.68% | 15.86% | 18.33% | 8.818% | 0% | 19.43% | 16.13% | 19% | 23.3% | 0% | 24.53% | 15.52% | 19.02% | 22.8% | 0% | 24.94%
| ComEd/Nicor $; AG/NRDC Method; CHP HR | 47.41% | 49.65% | 50.74% | 0% | 51.54% | 32.96% | 35.88% | 37.22% | 0% | 38.41% | 16.26% | 19.13% | 8.818% | 0% | 19.61% | 16.58% | 19.93% | 21.39% | 0% | 22.43% | 16% | 19.42% | 20.84% | 0% | 22.22%
| ComEd/Nicor $; DCEO Method; eGrid HR | 46.19% | 47.21% | 48.23% | 0% | 48.98% | 31.01% | 32.27% | 33.52% | 0% | 34.64% | 13.78% | 14.92% | 8.818% | 0% | 15.37% | 13.83% | 15.18% | 17.29% | 0% | 17.74% | 12.7% | 14.58% | 16.08% | 0% | 16.8%
| ComEd/Nicor $; AG/NRDC Method; eGrid HR | 46.11% | 47.08% | 48.17% | 0% | 48.97% | 30.9% | 32.11% | 33.45% | 0% | 34.63% | 13.67% | 14.78% | 8.818% | 0% | 15.25% | 13.7% | 15.01% | 16.47% | 0% | 17.51% | 12.58% | 13.86% | 15.28% | 0% | 16.66%