## NSG 2020 Verified Summary
North Shore Gas 2020 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | GHG Savings |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) |  |  | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 30952 | 99.97% | 30942 | 316239.99 | 90.65% | 28050 | 291881.672 | 3.4742 | 0.33387 | 97449.9309 | 695 | Participants | 148.4125 | 1544.3459 | 1399427.3608 | 11056321.4616 | 10.2204
Home Energy Rebate | 217076 | 100.5% | 218142 | 4187169.945 | 67.44% | 147115 | 2815467.6056 | 2.265 | 0.11835 | 333209.1418 | 951 | Participants | 778.3855 | 14896.6391 | 0 | 0 | 19.1947
Multi-Family | 150894 | 100.7% | 151980 | 2022684.5 | 87.39% | 132813 | 1764115.5 | 2.6721 | 0.20118 | 354896.1754 | 485 | Projects | 702.7136 | 9333.9351 | 478163.4893 | 2724836.0331 | 13.3089
Home Energy Reports | 297590 | 206.5% | 614415 | 3072075 | 100% | 614415 | 3072075 | 0.50999 | 0.102 | 313346.8274 | 73602 | Participants | 3250.8698 | 16254.3488 | 0 | 0 | 5
Elementary Energy Education | 11267.6459 | 121.4% | 13676.4759 | 123248.98 | 100% | 13676.4759 | 123248.98 | 0.90261 | 0.10016 | 12344.55 | 705 | Kits Distributed | 72.3622 | 652.1104 | 2687248.2749 | 25657225.7246 | 9.0117
Residential Total | 707779.6459 | 145.4% | 1029155.4759 | 9721418.4149 | 90.96% | 936069.4759 | 8066788.7575 | 1.1871 | 0.13776 | 1111246.6255 | NA |  | 4952.7436 | 42681.3793 | 4564839.125 | 39438383.2194 | 9.446
C&I and PS Prescriptive | 814381 | 100% | 814414 | 4105636 | 79% | 643387 | 3243447 | 0.93687 | 0.18584 | 602770.1537 | 30 | Projects | 3404.1606 | 17161.0781 | 1344716.6475 | 8068299.8852 | 5.0412
C&I and PS Custom | 24937 | 94.09% | 23463 | 351945 | 74% | 17363 | 260445 | 1.063 | 0.070868 | 18457.306 | 4 | Projects | 91.8676 | 1378.0145 | 0 | 0 | 15
Gas Optimization | 144928 | 100.1% | 145039 | 3294126.1 | 91% | 131986 | 2997659.6 | 0.81273 | 0.035784 | 107269.537 | 6 | Projects | 698.3379 | 15860.6169 | 0 | 0 | 22.712
Strategic Energy Management | 214338 | 29.13% | 62428 | 436996 | 100% | 62428 | 436996 | 2.5412 | 0.36303 | 158643.8647 | 3 | Projects | 330.3065 | 2312.1458 | 0 | 0 | 7
C&I and PS Joint Retro-Commissioning | 68240 | 100% | 68240 | 580040 | 94% | 64146 | 545241 | 0.7874 | 0.092635 | 50508.3435 | 6 | Projects | 339.3965 | 2884.8701 | 0 | 0 | 8.5
C&I and PS Joint New Construction | 7127 | 88.92% | 6337 | 130542.2 | 57.99% | 3675 | 75705 | 1.4354 | 0.06968 | 5275.1021 | 2 | Projects | 19.4444 | 400.5552 | 0 | 0 | 20.6
Commercial Food Service | 1895 | 112.4% | 2130 | 25560 | 80% | 1704 | 20448 | 0.82312 | 0.068593 | 1402.5983 | 2 | Projects | 9.0159 | 108.1904 | 0 | 0 | 12
Small Business | 354153 | 99.33% | 351792 | 2726866.5 | 92.42% | 325133 | 2522547.5 | 1.0697 | 0.13788 | 347807.9515 | 990 | Projects | 1720.2787 | 13346.7988 | 4098933.016 | 35749936.5654 | 7.7514
C&I and Public Sector Total | 1629999 | 90.42% | 1473843 | 11651711.8 | 84.8% | 1249822 | 10102489.1 | 1.0339 | 0.1279 | 1292134.8569 | NA |  | 6612.8082 | 53452.2698 | 5443649.6636 | 43818236.4506 | 7.9057
Income Eligible - IHWAP-SF | 8682.44 | 100% | 8682.465 | 148507.441 | 100% | 8682.465 | 148507.441 | 16.0216 | 0.9367 | 139106.9363 | 24 | Participants | 45.9389 | 785.7529 | 8353.8119 | 83538.119 | 17.1043
Income Eligible - IHWAP-MF | 4262 | 100% | 4262 | 72327 | 100% | 4262 | 72327 | 16.0216 | 0.9441 | 68284.2337 | 19 | Projects | 22.5502 | 382.6822 | 51795.0629 | 517950.6285 | 16.9702
Income Eligible - MF LIHEAP Kits | 71660 | 107.6% | 77130 | 792788 | 100% | 77130 | 792788 | 1.2153 | 0.11823 | 93733.411 | 2000 | Kits Distributed | 408.0948 | 4194.6413 | 2121672.0098 | 20875854.0896 | 10.2786
Income Eligible - IEMS | 623 | 100% | 623 | 5950 | 100% | 623 | 5950 | 43.9446 | 4.6013 | 27377.48 | 6 | Projects | 3.2963 | 31.4814 | 276096.7088 | 2559695.4282 | 9.5506
Income Eligible - PTA | 8402 | 103.7% | 8710 | 58344 | 100% | 8710 | 58344 | 5.9524 | 0.88862 | 51845.5 | 16 | Projects | 46.0846 | 308.6981 | 0 | 0 | 6.6985
Income Eligible - PHES | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | Projects | 0 | 0 | 0 | 0 | #DIV/0!
Income Eligible Total | 93629.44 | 106.2% | 99407.465 | 1077916.441 | 100% | 99407.465 | 1077916.441 | 3.8261 | 0.35285 | 380347.561 | NA |  | 525.9649 | 5703.2559 | 2457917.5933 | 24037038.2653 | 10.8434
EEPS Program Total | 2431408.0859 | 107% | 2602405.9408 | 22451046.656 | 87.81% | 2285298.9408 | 19247194.2986 | 1.2181 | 0.14463 | 2783729.0434 |  |  | 12091.5167 | 101836.905 | 12466406.3819 | 107293657.9353 | 8.627
Other EEPS Portfolio Costs | [9 empty] | 802800.5907
EEPS Portfolio Total | 2431408.0859 | 107% | 2602405.9408 | 22451046.656 | 87.81% | 2285298.9408 | 19247194.2986 | 1.5694 | 0.18634 | 3586529.6341 | NA |  | 12091.5167 | 101836.905 | 12466406.3819 | 107293657.9353 | 8.627

## NSG 2020 High Impact Measures
North Shore Gas 2020 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross | Project | Each | Participants | Apt Units | Kits Distributed | MBH | CFM | Square Feet | Linear Feet | HP | lbs-capacity
Residential | Home Energy Reports | 614415 | 3072075 | 5 | 1 | 23.61% | 23.61% | 0 | 0 | 73602 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Steam Trap Replacement or Repair | 584737 | 3508422 | 6 | 2 | 22.47% | 46.08% | 5 | 648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Process Boiler Tune-up | 369921 | 1109763 | 3 | 3 | 14.21% | 60.29% | 0 | 0 | 0 | 0 | 0 | 361698 | 0 | 0 | 0 | 0 | 0
Non-Residential | Custom | 306948 | 4913409.3 | 16.0073 | 4 | 11.79% | 72.09% | 18 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas High Efficiency Furnace | 182455.1728 | 3504229.3254 | 19.206 | 5 | 7.011% | 79.1% | 0 | 886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Pipe Insulation | 81709 | 1200947 | 14.6979 | 6 | 3.14% | 82.24% | 0 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 35792 | 0 | 0
Residential | Air Sealing | 66939.1584 | 901251.1674 | 13.4637 | 7 | 2.572% | 84.81% | 43 | 40564 | 0 | 0 | 0 | 0 | 86122 | 180800 | 34000 | 0 | 0
Residential | DWH Controls | 55364 | 830460 | 15 | 8 | 2.127% | 86.94% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Pipe Insulation | 54534 | 818010 | 15 | 9 | 2.096% | 89.03% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5286 | 0 | 0
Non-Residential | Space Heating Boiler Tune-up | 48555 | 145665 | 3 | 10 | 1.866% | 90.9% | 0 | 0 | 0 | 0 | 0 | 102536 | 0 | 0 | 0 | 0 | 0
Non-Residential | Low Flow Showerheads | 42658 | 426580 | 10 | 11 | 1.639% | 92.54% | 0 | 807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Low Flow Showerheads | 24986.2954 | 249862.9542 | 10 | 12 | 0.9601% | 93.5% | 0 | 2706 | 0 | 0 | 1410 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Space Heating Boiler Tune-up | 22142 | 66426 | 3 | 13 | 0.8508% | 94.35% | 0 | 0 | 0 | 0 | 0 | 47237 | 0 | 0 | 0 | 0 | 0
Residential | Ceiling/Attic Insulation | 15018.9273 | 300378.5468 | 20 | 14 | 0.5771% | 94.93% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162785 | 0 | 0 | 0
Non-Residential | Programmable Thermostats | 14741 | 84094 | 5.7048 | 15 | 0.5664% | 95.49% | 0 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Programmable Thermostats | 13768.7649 | 66970.119 | 4.8639 | 16 | 0.5291% | 96.02% | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Prescriptive Change Other | 11157 | 66942 | 6 | 17 | 0.4287% | 96.45% | 0 | 11157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Shower Timer | 10059.3778 | 20118.7557 | 2 | 18 | 0.3865% | 96.84% | 0 | 2958 | 0 | 0 | 1410 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Boiler | 10041 | 200820 | 20 | 19 | 0.3858% | 97.22% | 0 | 0 | 0 | 0 | 0 | 6530 | 0 | 0 | 0 | 0 | 0
Residential | Low Flow Faucet Aerators | 9179.7739 | 91797.7386 | 10 | 20 | 0.3527% | 97.58% | 0 | 4751 | 0 | 0 | 4230 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Advanced Thermostats | 7238.1631 | 79619.7938 | 11 | 21 | 0.2781% | 97.85% | 0 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas High Efficiency Boiler | 7038.7951 | 162205.7058 | 23.0445 | 22 | 0.2705% | 98.12% | 0 | 11 | 0 | 0 | 0 | 2404 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 6744 | 33720 | 5 | 23 | 0.2591% | 98.38% | 0 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | ENERGY STAR Fryer | 5814 | 81957 | 14.0965 | 24 | 0.2234% | 98.61% | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Duct Insulation and Sealing | 5813.9258 | 116278.5165 | 20 | 25 | 0.2234% | 98.83% | 0 | 1 | 0 | 0 | 0 | 0 | 4332 | 0 | 0 | 0 | 0
Non-Residential | Boiler Reset Controls | 4833 | 96660 | 20 | 26 | 0.1857% | 99.02% | 0 | 0 | 0 | 0 | 0 | 3600 | 0 | 0 | 0 | 0 | 0
Non-Residential | Demand Controlled Ventilation | 3732 | 37320 | 10 | 27 | 0.1434% | 99.16% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54884 | 0 | 0 | 0
Non-Residential | Steamer | 3008 | 36096 | 12 | 28 | 0.1156% | 99.28% | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas Water Heater | 2959.7846 | 38665.8414 | 13.0637 | 29 | 0.1137% | 99.39% | 0 | 43 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 0
Residential | Steam Trap Replacement or Repair | 2856 | 17136 | 6 | 30 | 0.1097% | 99.5% | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | DHW Tank Insulation | 2147 | 21495 | 10.0116 | 31 | 0.0825% | 99.58% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 401 | 0 | 0 | 0
Residential | Water Heater Temperature Setback | 1754.3048 | 3508.6096 | 2 | 32 | 0.06741% | 99.65% | 0 | 2000 | 0 | 0 | 1410 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Condensate Tank Insulation | 1520 | 22800 | 15 | 33 | 0.05841% | 99.71% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246 | 0 | 0 | 0
Residential | Non-Res High Efficiency Furnace | 1120 | 25187.5 | 22.4888 | 34 | 0.04304% | 99.75% | 0 | 1 | 0 | 0 | 0 | 720 | 0 | 0 | 0 | 0 | 0
Residential | Furnace Filter Alarm | 944.2682 | 2832.8046 | 3 | 35 | 0.03628% | 99.79% | 0 | 0 | 0 | 0 | 1410 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Dock Door Seals | 940 | 18800 | 20 | 36 | 0.03612% | 99.82% | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Wall Insulation | 922 | 18440 | 20 | 37 | 0.03543% | 99.86% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7826 | 0 | 0 | 0
Residential | Domestic Hot Water Pipe Insulation | 683.2196 | 10248.2939 | 15 | 38 | 0.02625% | 99.88% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 0
Residential | DHW Tank Insulation | 641 | 9615 | 15 | 39 | 0.02463% | 99.91% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0
Non-Residential | Gas Water Heater | 641 | 9615 | 15 | 40 | 0.02463% | 99.93% | 0 | 0 | 0 | 0 | 0 | 199 | 0 | 0 | 0 | 0 | 0
Non-Residential | Dishwasher | 546 | 10920 | 20 | 41 | 0.02098% | 99.95% | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Basement Sidewall Insulation | 526.9101 | 10538.2027 | 20 | 42 | 0.02025% | 99.97% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3838 | 0 | 0 | 0
Non-Residential | Combination Oven | 379 | 4548 | 12 | 43 | 0.01456% | 99.99% | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Non-Res High Efficiency Furnace | 247 | 4075.5 | 16.5 | 44 | 0.009491% | 100% | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Floor Insulation | 27.099 | 541.9804 | 20 | 45 | 0.001041% | 100% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0
Portfolio |  | 2602405.9408 | 22451046.656 | 8.627

## NSG 2020 TRC Plan 3
Total Resource Cost Test (TRC) Results for North Shore Gas, 2020 Programs, Societal Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 109428.9089 | 133539.0017 | 57696.9545 | 39752.9764 | 41685.2434 | 242967.9106 | 99382.1979 | 143585.7127 | 2.4448
Home Energy Rebate | 1042009.2644 | 597385.6331 | 96227.4418 | 236981.7 | 1069373.606 | 1639394.8974 | 1165601.0478 | 473793.8497 | 1.4065
Multi-Family | 660893.9894 | 296856.9264 | 188516.1654 | 166380.01 | 382953.2058 | 957750.9158 | 571469.3712 | 386281.5446 | 1.6759
Home Energy Reports | 1179525.6625 | 490745.6921 | 313346.8274 | 0 | 0 | 1670271.3546 | 313346.8274 | 1356924.5272 | 5.3304
Elementary Energy Education | 46714.6088 | 222837.8334 | 0 | 12344.55 | 12344.5504 | 269552.4422 | 12344.5504 | 257207.8918 | 21.8357
Residential Subtotal | 3038572.4341 | 1741365.0866 | 655787.3891 | 455459.2364 | 1506356.6055 | 4779937.5206 | 2162143.9947 | 2617793.526 | 2.2107
C&I and PS Prescriptive | 1240614.8343 | 583153.8709 | 218985.9313 | 383784.2224 | 526242.538 | 1823768.7052 | 745228.4693 | 1078540.2359 | 2.4473
C&I and PS Custom | 97433.0296 | 40537.3457 | 6705.525 | 11751.781 | 92269.7832 | 137970.3753 | 98975.3082 | 38995.067 | 1.394
Gas Optimization | 1104855.725 | 459679.0088 | 38970.94 | 68298.5971 | 263769.9776 | 1564534.7338 | 302740.9175 | 1261793.8163 | 5.1679
Strategic Energy Management | 166792.7182 | 69394.6817 | 57635.1935 | 101008.6712 | 107169 | 236187.3999 | 164804.1935 | 71383.2064 | 1.4331
C&I and PS Joint Retro-Commissioning | 219179.1854 | 91190.2508 | 18349.6422 | 32158.7013 | 64146 | 310369.4362 | 82495.6422 | 227873.7941 | 3.7623
C&I and PS Joint New Construction | 28468.1046 | 11844.2524 | 1916.4405 | 3358.6616 | 22277.6389 | 40312.357 | 24194.0794 | 16118.2776 | 1.6662
Commercial Food Service | 7705.1124 | 3205.7384 | 509.5629 | 893.0354 | 6318.1421 | 10910.8508 | 6827.705 | 4083.1458 | 1.598
Small Business | 955509.6871 | 738181.1939 | 155980.4715 | 191827.48 | 378096.9064 | 1693690.881 | 534077.3779 | 1159613.5031 | 3.1712
Total C&I and Public Sector | 3820558.3965 | 1997186.3427 | 499053.7069 | 793081.15 | 1460289.9861 | 5817744.7392 | 1959343.693 | 3858401.0462 | 2.9692
Income Eligible - IHWAP-SF | 55118.7006 | 23593.9972 | 0 | 139106.9363 | 278213.8726 | 78712.6978 | 278213.8726 | -199501.1748 | 0.28292
Income Eligible - IHWAP-MF | 26869.3979 | 15281.591 | 0 | 68284.2337 | 136568.4674 | 42150.9889 | 136568.4674 | -94417.4785 | 0.30864
Income Eligible - MF LIHEAP Kits | 295605.5609 | 288388.0506 | 1205.411 | 92528 | 92528 | 583993.6115 | 93733.411 | 490260.2005 | 6.2304
Income Eligible - IEMS | 2253.937 | 21242.1116 | 23611.28 | 3766.2 | 3766.2 | 23496.0487 | 27377.48 | -3881.4313 | 0.85823
Income Eligible - PTA | 21924.977 | 9121.9618 | 0 | 51845.5 | 51845.5 | 31046.9388 | 51845.5 | -20798.5612 | 0.59884
Income Eligible - PHES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 401772.5735 | 357627.7122 | 24816.691 | 355530.87 | 562922.04 | 759400.2857 | 587738.731 | 171661.5547 | 1.2921
EEPS Portfolio Costs |  |  | 802800.5907 |  |  | 0 | 802800.5907 | -802800.5907
EEPS Portfolio | 7260903.4041 | 4096179.1414 | 1982458.3777 | 1604071.2564 | 3529568.6316 | 11357082.5455 | 5512027.0094 | 5845055.5362 | 2.0604
EEPS Portfolio Without Income Eligible | 6859130.8306 | 3738551.4292 | 1957641.6867 | 1248540.3864 | 2966646.5916 | 10597682.2598 | 4924288.2784 | 5673393.9815 | 2.1521

## NSG 2020 TRC Plan 4
Total Resource Cost Test (TRC) Results for North Shore Gas, 2020 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 102110.4217 | 207658.4934 | 57696.9545 | 39752.9764 | 41685.2434 | 309768.9151 | 99382.1979 | 210386.7172 | 3.1169
Home Energy Rebate | 987781.1845 | 1303485.3759 | 96227.4418 | 236981.7 | 1069373.606 | 2291266.5604 | 1165601.0478 | 1125665.5127 | 1.9657
Multi-Family | 621921.2344 | 750370.4431 | 188516.1654 | 166380.01 | 382953.2058 | 1372291.6775 | 571469.3712 | 800822.3063 | 2.4013
Home Energy Reports | 1024918.7844 | 1231428.145 | 313346.8274 | 0 | 0 | 2256346.9294 | 313346.8274 | 1943000.102 | 7.2008
Elementary Energy Education | 43129.0571 | 253711.7306 | 0 | 12344.55 | 12344.5504 | 296840.7877 | 12344.5504 | 284496.2372 | 24.0463
Residential Subtotal | 2779860.6821 | 3746654.188 | 655787.3891 | 455459.2364 | 1506356.6055 | 6526514.8701 | 2162143.9947 | 4364370.8754 | 3.0185
C&I and PS Prescriptive | 1094827.3762 | 1375655.3023 | 218985.9313 | 383784.2224 | 526242.538 | 2470482.6785 | 745228.4693 | 1725254.2092 | 3.3151
C&I and PS Custom | 92017.6813 | 107693.9005 | 6705.525 | 11751.781 | 92269.7832 | 199711.5818 | 98975.3082 | 100736.2736 | 2.0178
Gas Optimization | 1047547.1189 | 1214400.0118 | 38970.94 | 68298.5971 | 263769.9776 | 2261947.1307 | 302740.9175 | 1959206.2132 | 7.4716
Strategic Energy Management | 148552.528 | 176662.7409 | 57635.1935 | 101008.6712 | 107169 | 325215.2689 | 164804.1935 | 160411.0754 | 1.9733
C&I and PS Joint Retro-Commissioning | 200854.9423 | 235080.4354 | 18349.6422 | 32158.7013 | 64146 | 435935.3776 | 82495.6422 | 353439.7354 | 5.2843
C&I and PS Joint New Construction | 27028.0737 | 31596.3284 | 1916.4405 | 3358.6616 | 22277.6389 | 58624.4021 | 24194.0794 | 34430.3227 | 2.4231
Commercial Food Service | 7211.1682 | 8399.7746 | 509.5629 | 893.0354 | 6318.1421 | 15610.9428 | 6827.705 | 8783.2378 | 2.2864
Small Business | 866361.4354 | 1385641.5053 | 155980.4715 | 191827.48 | 378096.9064 | 2252002.9407 | 534077.3779 | 1717925.5628 | 4.2166
Total C&I and Public Sector | 3484400.3239 | 4535129.9991 | 499053.7069 | 793081.15 | 1460289.9861 | 8019530.323 | 1959343.693 | 6060186.63 | 4.093
Income Eligible - IHWAP-SF | 52091.6087 | 61757.918 | 0 | 139106.9363 | 278213.8726 | 113849.5267 | 278213.8726 | -164364.3459 | 0.40922
Income Eligible - IHWAP-MF | 25406.8335 | 33862.9714 | 0 | 68284.2337 | 136568.4674 | 59269.8049 | 136568.4674 | -77298.6625 | 0.43399
Income Eligible - MF LIHEAP Kits | 277409.9615 | 491252.4156 | 1205.411 | 92528 | 92528 | 768662.3771 | 93733.411 | 674928.9661 | 8.2005
Income Eligible - IEMS | 2084.7069 | 22734.4455 | 23611.28 | 3766.2 | 3766.2 | 24819.1524 | 27377.48 | -2558.3276 | 0.90655
Income Eligible - PTA | 20092.5656 | 23574.9007 | 0 | 51845.5 | 51845.5 | 43667.4663 | 51845.5 | -8178.0337 | 0.84226
Income Eligible - PHES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 377085.6763 | 633182.6511 | 24816.691 | 355530.87 | 562922.04 | 1010268.3274 | 587738.731 | 422529.5964 | 1.7189
EEPS Portfolio Costs |  |  | 802800.5907 |  |  | 0 | 802800.5907 | -802800.5907
EEPS Portfolio | 6641346.6823 | 8914966.8382 | 1982458.3777 | 1604071.2564 | 3529568.6316 | 15556313.5205 | 5512027.0094 | 10044286.5111 | 2.8222
EEPS Portfolio Without Income Eligible | 6264261.006 | 8281784.1871 | 1957641.6867 | 1248540.3864 | 2966646.5916 | 14546045.1931 | 4924288.2784 | 9621756.9148 | 2.9539

## NSG 2020 PACT Plan 3
Program Administrator Cost Test (PACT) Results for North Shore Gas, 2020 Programs, WACC Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 86477.1824 |  | 57696.9545 | 39752.9764 | 41685.2434 | 86477.1824 | 97449.9309 | -10972.7485 | 0.8874
Home Energy Rebate | 755736.0748 |  | 96227.4418 | 236981.7 | 1089564.2615 | 755736.0748 | 333209.1418 | 422526.933 | 2.2681
Multi-Family | 518240.7017 |  | 188516.1654 | 166380.01 | 382953.2058 | 518240.7017 | 354896.1754 | 163344.5263 | 1.4603
Home Energy Reports | 1076279.0245 |  | 313346.8274 | 0 | 0 | 1076279.0245 | 313346.8274 | 762932.1971 | 3.4348
Elementary Energy Education | 39439.3784 |  | 0 | 12344.55 | 12344.5504 | 39439.3784 | 12344.55 | 27094.8284 | 3.1949
Residential Subtotal | 2476172.3619 | 0 | 655787.3891 | 455459.2364 | 1526547.2611 | 2476172.3619 | 1111246.6255 | 1364925.7363 | 2.2283
C&I and PS Prescriptive | 1106612.5584 |  | 218985.9313 | 383784.2224 | 526242.538 | 1106612.5584 | 602770.1537 | 503842.4047 | 1.8359
C&I and PS Custom | 75720.2091 |  | 6705.525 | 11751.781 | 92269.7832 | 75720.2091 | 18457.306 | 57262.9031 | 4.1025
Gas Optimization | 761284.2426 |  | 38970.94 | 68298.5971 | 263769.9776 | 761284.2426 | 107269.537 | 654014.7055 | 7.0969
Strategic Energy Management | 147094.7071 |  | 57635.1935 | 101008.6712 | 107169 | 147094.7071 | 158643.8647 | -11549.1577 | 0.9272
C&I and PS Joint Retro-Commissioning | 187066.5935 |  | 18349.6422 | 32158.7013 | 64146 | 187066.5935 | 50508.3435 | 136558.25 | 3.7037
C&I and PS Joint New Construction | 20248.2052 |  | 1916.4405 | 3358.6616 | 22277.6389 | 20248.2052 | 5275.1021 | 14973.1032 | 3.8384
Commercial Food Service | 6270.7209 |  | 509.5629 | 893.0354 | 6318.1421 | 6270.7209 | 1402.5983 | 4868.1226 | 4.4708
Small Business | 805529.9322 |  | 155980.4715 | 191827.48 | 378096.9064 | 805529.9322 | 347807.9515 | 457721.9807 | 2.316
Total C&I and Public Sector | 3109827.169 | 0 | 499053.7069 | 793081.15 | 1460289.9861 | 3109827.169 | 1292134.8569 | 1817692.3121 | 2.4067
Income Eligible - IHWAP-SF | 40789.065 |  | 0 | 139106.9363 | 278213.8726 | 40789.065 | 139106.9363 | -98317.8713 | 0.29322
Income Eligible - IHWAP-MF | 20020.3158 |  | 0 | 68284.2337 | 136568.4674 | 20020.3158 | 68284.2337 | -48263.9179 | 0.29319
Income Eligible - MF LIHEAP Kits | 225297.2843 |  | 1205.411 | 92528 | 92528 | 225297.2843 | 93733.411 | 131563.8733 | 2.4036
Income Eligible - IEMS | 1896.5913 |  | 23611.28 | 3766.2 | 3766.2 | 1896.5913 | 27377.48 | -25480.8887 | 0.069276
Income Eligible - PTA | 17646.698 |  | 0 | 51845.5 | 51845.5 | 17646.698 | 51845.5 | -34198.802 | 0.34037
Income Eligible - PHES | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 305649.9544 | 0 | 24816.691 | 355530.87 | 562922.04 | 305649.9544 | 380347.561 | -74697.6066 | 0.80361
EEPS Portfolio Costs |  |  | 802800.5907 |  |  | 0 | 802800.5907 | -802800.5907
EEPS Portfolio | 5891649.4853 | 0 | 1982458.3777 | 1604071.2564 | 3549759.2872 | 5891649.4853 | 3586529.6341 | 2305119.8512 | 1.6427
EEPS Portfolio Without Income Eligible | 5585999.5309 | 0 | 1957641.6867 | 1248540.3864 | 2986837.2472 | 5585999.5309 | 3206182.0731 | 2379817.4578 | 1.7423

## NSG 2020 PACT Plan 4
Program Administrator Cost Test (PACT) Results for North Shore Gas, 2020 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 79970.2056 |  | 57696.9545 | 39752.9764 | 41685.2434 | 79970.2056 | 97449.9309 | -17479.7254 | 0.82063
Home Energy Rebate | 710651.3423 |  | 96227.4418 | 236981.7 | 1089564.2615 | 710651.3423 | 333209.1418 | 377442.2005 | 2.1327
Multi-Family | 483535.9989 |  | 188516.1654 | 166380.01 | 382953.2058 | 483535.9989 | 354896.1754 | 128639.8235 | 1.3625
Home Energy Reports | 933943.3486 |  | 313346.8274 | 0 | 0 | 933943.3486 | 313346.8274 | 620596.5212 | 2.9805
Elementary Energy Education | 36156.0654 |  | 0 | 12344.55 | 12344.5504 | 36156.0654 | 12344.55 | 23811.5154 | 2.9289
Residential Subtotal | 2244256.9608 | 0 | 655787.3891 | 455459.2364 | 1526547.2611 | 2244256.9608 | 1111246.6255 | 1133010.3352 | 2.0196
C&I and PS Prescriptive | 972186.7324 |  | 218985.9313 | 383784.2224 | 526242.538 | 972186.7324 | 602770.1537 | 369416.5787 | 1.6129
C&I and PS Custom | 70926.3724 |  | 6705.525 | 11751.781 | 92269.7832 | 70926.3724 | 18457.306 | 52469.0664 | 3.8427
Gas Optimization | 716745.839 |  | 38970.94 | 68298.5971 | 263769.9776 | 716745.839 | 107269.537 | 609476.302 | 6.6817
Strategic Energy Management | 130582.8772 |  | 57635.1935 | 101008.6712 | 107169 | 130582.8772 | 158643.8647 | -28060.9875 | 0.82312
C&I and PS Joint Retro-Commissioning | 170410.0458 |  | 18349.6422 | 32158.7013 | 64146 | 170410.0458 | 50508.3435 | 119901.7023 | 3.3739
C&I and PS Joint New Construction | 19077.2268 |  | 1916.4405 | 3358.6616 | 22277.6389 | 19077.2268 | 5275.1021 | 13802.1248 | 3.6165
Commercial Food Service | 5823.792 |  | 509.5629 | 893.0354 | 6318.1421 | 5823.792 | 1402.5983 | 4421.1937 | 4.1521
Small Business | 724932.4732 |  | 155980.4715 | 191827.48 | 378096.9064 | 724932.4732 | 347807.9515 | 377124.5217 | 2.0843
Total C&I and Public Sector | 2810685.3589 | 0 | 499053.7069 | 793081.15 | 1460289.9861 | 2810685.3589 | 1292134.8569 | 1518550.502 | 2.1752
Income Eligible - IHWAP-SF | 38226.7539 |  | 0 | 139106.9363 | 278213.8726 | 38226.7539 | 139106.9363 | -100880.1824 | 0.2748
Income Eligible - IHWAP-MF | 18775.0195 |  | 0 | 68284.2337 | 136568.4674 | 18775.0195 | 68284.2337 | -49509.2142 | 0.27495
Income Eligible - MF LIHEAP Kits | 209391.657 |  | 1205.411 | 92528 | 92528 | 209391.657 | 93733.411 | 115658.246 | 2.2339
Income Eligible - IEMS | 1741.9721 |  | 23611.28 | 3766.2 | 3766.2 | 1741.9721 | 27377.48 | -25635.5079 | 0.063628
Income Eligible - PTA | 15996.9105 |  | 0 | 51845.5 | 51845.5 | 15996.9105 | 51845.5 | -35848.5895 | 0.30855
Income Eligible - PHES | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Income Eligible Total | 284132.313 | 0 | 24816.691 | 355530.87 | 562922.04 | 284132.313 | 380347.561 | -96215.248 | 0.74703
EEPS Portfolio Costs |  |  | 802800.5907 |  |  | 0 | 802800.5907 | -802800.5907
EEPS Portfolio | 5339074.6327 | 0 | 1982458.3777 | 1604071.2564 | 3549759.2872 | 5339074.6327 | 3586529.6341 | 1752544.9985 | 1.4886
EEPS Portfolio Without Income Eligible | 5054942.3197 | 0 | 1957641.6867 | 1248540.3864 | 2986837.2472 | 5054942.3197 | 3206182.0731 | 1848760.2466 | 1.5766