## 2019 Verified Savings Summary
Peoples Gas 2019 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 227584 | 98.08% | 223209 | 1490561 | 89.34% | 199408 | 1399854 | 2.7735 | 0.39508 | 553057.44 | 5122 | Participants | 7953520.2067 | 79535202.0673 | 6.6779
Home Energy Rebate | 1085278 | 100.3% | 1089060 | 14537915.5874 | 90.24% | 982753 | 12478673.1941 | 1.8293 | 0.14406 | 1797727.75 | 13971 | Participants | 0 | 0 | 13.349
Multi-Family | 3176318 | 100% | 3176409 | 40882647 | 85.27% | 2708575 | 34528780 | 1.4802 | 0.11611 | 4009147.82 | 5315 | Projects | 8348711.2798 | 78520036.8449 | 12.8707
Home Energy Reports | 688083 | 112.2% | 772269 | 3861345 | 100% | 772269 | 3861345 | 0.65423 | 0.13085 | 505240.94 | 80649 | Participants | 0 | 0 | 5
Elementary Energy Education | 266314.7275 | 107.1% | 285128.2403 | 2731441.1352 | 100% | 285128.2403 | 2731441.1352 | 1.0569 | 0.11033 | 301353.19 | 17210 | Kits Distributed | 55138841.6454 | 532419842.548 | 9.5797
C&I Prescriptive | 1164881 | 100% | 1164841 | 7299490 | 79% | 920223 | 5766593 | 1.5018 | 0.23966 | 1382022.2477 | 45 | Projects | 3408742.9582 | 20452457.7494 | 6.2665
C&I Custom | 442194 | 98.56% | 435831 | 6027099 | 69% | 300724 | 4158706 | 1.7445 | 0.12615 | 524621.7818 | 18 | Projects | 0 | 0 | 13.829
PS Prescriptive | 189893 | 100% | 189900 | 793551 | 79% | 150021 | 626904 | 1.5017 | 0.35937 | 225290.2663 | 25 | Projects | 99977.3786 | 599864.2718 | 4.1788
PS Custom | 14656 | 98.56% | 14445 | 216675 | 69% | 9967 | 149505 | 1.7446 | 0.1163 | 17387.9719 | 1 | Projects | 0 | 0 | 15
C&I Gas Optimization | 294590 | 102.2% | 300940 | 2196380 | 91% | 273855 | 1998702.5 | 1.2762 | 0.17487 | 349503.4548 | 16 | Projects | 0 | 0 | 7.2984
Strategic Energy Management | 156930 | 102.1% | 160264 | 801320 | 100% | 160264 | 801320 | 1.1617 | 0.23235 | 186182.7529 | 3 | Projects | 0 | 0 | 5
C&I and PS Joint Retro-Commissioning | 436212 | 86% | 375142 | 3151192.8 | 94% | 352634 | 2962125.6 | 1.4676 | 0.17471 | 517524.6988 | 22 | Projects | 0 | 0 | 8.4
C&I and PS Joint New Construction | 910286 | 99% | 901183 | 18564369.8 | 70% | 630828 | 12995056.8 | 1.712 | 0.083106 | 1079969.1159 | 23 | Projects | 0 | 0 | 20.6
Small Business | 1448325 | 99.84% | 1446078 | 9457196 | 92.02% | 1330647 | 8702470 | 1.5526 | 0.2374 | 2066009.59 | 355 | Projects | 4221644.7454 | 26574191.1921 | 6.5399
Income Eligible - CBA | 356426.756 | 101% | 360147.1351 | 7050121.2516 | 100% | 360147.1351 | 7050121.2516 | 14.4032 | 0.73577 | 5187288.9247 | 998 | Participants | 641126.7529 | 6411267.529 | 19.5757
Income Eligible - IHWAP-SF | 39878.3998 | 112.6% | 44903.0434 | 802701.3902 | 100% | 44903.0434 | 802701.3902 | 16.0621 | 0.89851 | 721236.4961 | 87 | Participants | 124490.2759 | 1244902.7586 | 17.8763
Income Eligible - IHWAP-MF | 18642 | 114.8% | 21409 | 498849 | 100% | 21409 | 498849 | 15.7484 | 0.67587 | 337157.2283 | 15 | Projects | 200961.8816 | 2009618.8156 | 23.3009
Income Eligible - MF LIHEAP Kits | 178884 | 100% | 178884 | 1918503 | 100% | 178884 | 1918503 | 4.8295 | 0.45031 | 863921.9064 | 4946 | Kits Distributed | 7427324.6445 | 72475083.2953 | 10.7248
Income Eligible - IEMS | 318512 | 100.7% | 320708 | 3725199 | 100% | 320708 | 3725199 | 5.4802 | 0.4718 | 1757549.0999 | 327 | Projects | 2902758.2904 | 27071903.8868 | 11.6155
Income Eligible - PHES | 62461.463 | 101.4% | 63341.0306 | 522451.0772 | 100% | 63341.0306 | 522451.0772 | 5.4414 | 0.6597 | 344662.3301 | 41 | Projects | 789624.6256 | 7748170.836 | 8.2482
Income Eligible - AHNC | 6865.4811 | 98.67% | 6773.8576 | 121066.9473 | 100% | 6773.8576 | 121066.9473 | 3.0986 | 0.17337 | 20989.3146 | 1 | Project | 0 | 0 | 17.8727
Residential Total | 5443577.7275 | 101.9% | 5546075.2403 | 63503909.7226 | 89.22% | 4948133.2403 | 55000093.3293 | 1.4483 | 0.1303 | 7166527.14 | NA |  | 71441073.132 | 690475081.4602 | 11.4502
C&I and Public Sector Total | 5057967 | 98.63% | 4988624 | 48507273.6 | 82.77% | 4129163 | 38161382.9 | 1.5375 | 0.16636 | 6348511.88 | NA |  | 7730365.0822 | 47626513.2132 | 9.7236
Income Eligible Total | 981670.1 | 101.5% | 996166.0668 | 14638891.6662 | 100% | 996166.0668 | 14638891.6662 | 9.2683 | 0.6307 | 9232805.3 | NA |  | 12086286.4708 | 116960947.1213 | 14.6952
EEPS Program Total | 11483214.8274 | 100.4% | 11530865.3071 | 126650074.9888 | 87.36% | 10073462.3071 | 107800367.8955 | 2.2582 | 0.21102 | 22747844.32 |  |  | 91257724.685 | 855062541.7947 | 10.9836
Other EEPS Portfolio Costs | [9 empty] | 4170337.41
EEPS Portfolio Total | 11483214.8274 | 100.4% | 11530865.3071 | 126650074.9888 | 87.36% | 10073462.3071 | 107800367.8955 | 2.6722 | 0.2497 | 26918181.73 | NA |  | 91257724.685 | 855062541.7947 | 10.9836

## 2019 High Impact Measures
Peoples Gas 2019 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross
Non-Residential | Custom | 2141913 | 30451467.6 | 14.2169 | 1 | 18.58% | 18.58%
Non-Residential | Steam Trap Replacement or Repair | 1636163 | 9816978 | 6 | 2 | 14.19% | 32.76%
Residential | Steam Trap Replacement or Repair | 1309716.3611 | 7858298.1665 | 6 | 3 | 11.36% | 44.12%
Residential | Pipe Insulation | 1000829 | 19605075 | 19.5888 | 4 | 8.68% | 52.8%
Residential | Advanced Thermostats | 854113.76 | 9395251.36 | 11 | 5 | 7.407% | 60.21%
Residential | Home Energy Reports | 772269 | 3861345 | 5 | 6 | 6.697% | 66.91%
Non-Residential | Space Heating Boiler Tune-up | 384542 | 1153626 | 3 | 7 | 3.335% | 70.24%
Non-Residential | Process Boiler Tune-up | 333207 | 999621 | 3 | 8 | 2.89% | 73.13%
Residential | Air Sealing | 302882.9438 | 5084164.9254 | 16.7859 | 9 | 2.627% | 75.76%
Residential | Pipe Steam Averaging Controls | 289252 | 5785040 | 20 | 10 | 2.509% | 78.27%
Residential | Gas High Efficiency Furnace | 268587.6238 | 5174450.3311 | 19.2654 | 11 | 2.329% | 80.6%
Residential | Low Flow Showerheads | 265438.6156 | 2654386.1555 | 10 | 12 | 2.302% | 82.9%
Residential | DHW Controls | 239953 | 3599295 | 15 | 13 | 2.081% | 84.98%
Residential | Space Heating Boiler Tune-up | 226695 | 680085 | 3 | 14 | 1.966% | 86.95%
Residential | Programmable Thermostats | 199580.5813 | 1051491.7903 | 5.2685 | 15 | 1.731% | 88.68%
Non-Residential | Prescriptive Change Other | 193723 | 1840624 | 9.5013 | 16 | 1.68% | 90.36%
Residential | High Efficiency Boiler | 188889 | 3552706.5 | 18.8084 | 17 | 1.638% | 91.99%
Non-Residential | Pipe Insulation | 184037 | 2760555 | 15 | 18 | 1.596% | 93.59%
Residential | Low Flow Faucet Aerators | 137986.5157 | 1379865.1573 | 10 | 19 | 1.197% | 94.79%
Residential | Custom | 129742.8576 | 2311982.9473 | 17.8197 | 20 | 1.125% | 95.91%
Residential | Wall Insulation | 120997.167 | 2419943.3393 | 20 | 21 | 1.049% | 96.96%
Residential | Ceiling/Attic Insulation | 114521.7801 | 2290435.6018 | 20 | 22 | 0.9932% | 97.95%
Non-Residential | High Efficiency Boiler | 35650 | 713000 | 20 | 23 | 0.3092% | 98.26%
Residential | Shower Timer | 27967.8783 | 55935.7567 | 2 | 24 | 0.2425% | 98.51%
Non-Residential | Behavioral/Manual Control Improvement | 24268 | 121340 | 5 | 25 | 0.2105% | 98.72%
Residential | Steam Averaging Controls | 16731 | 334620 | 20 | 26 | 0.1451% | 98.86%
Non-Residential | Linkageless Controls | 14567 | 233072 | 16 | 27 | 0.1263% | 98.99%
Residential | Prescriptive Change Other | 11529 | 34587 | 3 | 28 | 0.09998% | 99.09%
Residential | Gas High Efficiency Boiler | 11468.2893 | 240888.6362 | 21.0048 | 29 | 0.09946% | 99.19%
Non-Residential | High Speed Washer | 11012 | 77084 | 7 | 30 | 0.0955% | 99.28%
Residential | Boiler Lockout/Reset Controls | 9540 | 190800 | 20 | 31 | 0.08273% | 99.37%
Residential | Gas Water Heater | 8510.7646 | 106409.0068 | 12.5029 | 32 | 0.07381% | 99.44%
Residential | DHW Tank Insulation | 6831 | 102465 | 15 | 33 | 0.05924% | 99.5%
Residential | Water Heater Temperature Setback | 6413.2802 | 12826.5604 | 2 | 34 | 0.05562% | 99.55%
Residential | Kitchen Demand Ventilation Controls | 5418 | 81270 | 15 | 35 | 0.04699% | 99.6%
Non-Residential | Gas Water Heater | 4885 | 73275 | 15 | 36 | 0.04236% | 99.64%
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 4684 | 23420 | 5 | 37 | 0.04062% | 99.68%
Residential | Domestic Hot Water Pipe Insulation | 4652.1242 | 69781.863 | 15 | 38 | 0.04034% | 99.73%
Non-Residential | Direct Fired Heaters | 4271 | 64065 | 15 | 39 | 0.03704% | 99.76%
Residential | Linkageless Controls | 3415 | 54640 | 16 | 40 | 0.02962% | 99.79%
Non-Residential | Programmable Thermostats | 2896 | 23168 | 8 | 41 | 0.02512% | 99.82%
Non-Residential | Demand Controlled Ventilation | 2869 | 28690 | 10 | 42 | 0.02488% | 99.84%
Residential | Non-Res High Efficiency Furnace | 2843 | 48331 | 17 | 43 | 0.02466% | 99.87%
Non-Residential | Low Flow Faucet Aerators | 2822 | 28220 | 10 | 44 | 0.02447% | 99.89%
Non-Residential | Non-Res High Efficiency Furnace | 2493 | 42381 | 17 | 45 | 0.02162% | 99.91%
Residential | Basement Sidewall Insulation | 1801.5204 | 36030.4086 | 20 | 46 | 0.01562% | 99.93%
Residential | Floor Insulation | 1597.2441 | 31944.8827 | 20 | 47 | 0.01385% | 99.94%
Residential | Duct Insulation and Sealing | 1487 | 29740 | 20 | 48 | 0.0129% | 99.95%
Non-Residential | Advanced Thermostats | 1415 | 15565 | 11 | 49 | 0.01227% | 99.97%
Non-Residential | Low Flow Showerheads | 1021 | 10210 | 10 | 50 | 0.008854% | 99.98%
Non-Residential | ENERGY STAR Fryer | 1016 | 12192 | 12 | 51 | 0.008811% | 99.98%
Residential | Draft Controls | 581 | 8715 | 15 | 52 | 0.005039% | 99.99%
Non-Residential | Dock Door Seals | 470 | 9400 | 20 | 53 | 0.004076% | 99.99%
Non-Residential | Modulating Dryers | 460 | 6440 | 14 | 54 | 0.003989% | 100%
Non-Residential | Infrared Salamander Broiler | 240 | 2880 | 12 | 55 | 0.002081% | 100%
Portfolio |  | 11530865.3071 | 126650074.9888 | 10.9836

## 2019 TRC
Total Resource Cost Test (TRC) Results for Peoples Gas, 2019 Programs, Societal Discount Rate
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 521817.3184 | 805563.2265 | 247701.87 | 305355.57 | 305355.57 | 1327380.5449 | 553057.44 | 774323.1049 | 2.4001
Home Energy Rebate | 4596593.3107 | 1968906.4332 | 1024766.86 | 772960.89 | 2003718.5043 | 6565499.7439 | 3028485.3643 | 3537014.3796 | 2.1679
Multi-Family | 12641299.3143 | 5560465.5896 | 1263725.06 | 2745422.76 | 5611979.8201 | 18201764.9039 | 6875704.8801 | 11326060.0238 | 2.6473
Home Energy Reports | 1454780.2106 | 503226.1464 | 505240.94 | 0 | 0 | 1958006.3571 | 505240.94 | 1452765.4171 | 3.8754
Elementary Energy Education | 1015290.0578 | 4501378.192 | 6.09 | 301347.1 | 301347.1 | 5516668.2498 | 301353.19 | 5215315.0598 | 18.3063
Residential Total | 20229780.2119 | 13339539.5877 | 3041440.82 | 4125086.32 | 8222400.9944 | 33569319.7996 | 11263841.8144 | 22305477.9851 | 2.9803
C&I Prescriptive | 2159098.484 | 936513.0366 | 636400.2769 | 745621.9708 | 518356.7702 | 3095611.5206 | 1154757.0471 | 1940854.4735 | 2.6807
C&I Custom | 1530661.018 | 597102.0038 | 241580.3709 | 283041.4109 | 1503620 | 2127763.0218 | 1745200.3709 | 382562.6509 | 1.2192
PS Prescriptive | 236578.5494 | 83293.9398 | 103742.7495 | 121547.5168 | 189966.3776 | 319872.4892 | 293709.1271 | 26163.3621 | 1.0891
PS Custom | 54881.8949 | 21516.8576 | 8006.8972 | 9381.0746 | 49835 | 76398.7525 | 57841.8972 | 18556.8553 | 1.3208
C&I Gas Optimization | 793919.4502 | 294128.3603 | 160941.0382 | 188562.4166 | 547710 | 1088047.8105 | 708651.0382 | 379396.7722 | 1.5354
Strategic Energy Management | 301901.1454 | 104431.2735 | 85734.3329 | 100448.4199 | 80132 | 406332.4189 | 165866.3329 | 240466.086 | 2.4498
C&I and PS Joint Retro-Commissioning | 1182325.6471 | 445316.9952 | 238312.2719 | 279212.427 | 352634 | 1627642.6423 | 590946.2719 | 1036696.3704 | 2.7543
C&I and PS Joint New Construction | 4795074.6079 | 1911655.7151 | 497309.3925 | 582659.7234 | 3400162.92 | 6706730.323 | 3897472.3125 | 2809258.0105 | 1.7208
Small Business | 3244522.754 | 1448396.0263 | 1233796.22 | 832213.37 | 2034597.3366 | 4692918.7803 | 3268393.5566 | 1424525.2237 | 1.4358
C&I and Public Sector Total | 14298963.551 | 5842354.208 | 3205823.55 | 3142688.33 | 8677014.4044 | 20141317.759 | 11882837.9544 | 8258479.8046 | 1.695
Income Eligible - CBA | 2559214.9175 | 1066742.8833 | 549663.1547 | 4637625.77 | 4637625.77 | 3625957.8008 | 5187288.9247 | -1561331.1238 | 0.69901
Income Eligible - IHWAP-SF | 292037.5118 | 125193.2534 | 61498.4332 | 659738.0628 | 659738.0628 | 417230.7652 | 721236.4961 | -304005.7309 | 0.57849
Income Eligible - IHWAP-MF | 179312.5303 | 87309.1699 | 28748.7411 | 308408.4872 | 308408.4872 | 266621.7001 | 337157.2283 | -70535.5281 | 0.79079
Income Eligible - MF LIHEAP Kits | 701693.9429 | 828636.413 | 275865.7764 | 588056.13 | 588056.13 | 1530330.356 | 863921.9064 | 666408.4496 | 1.7714
Income Eligible - IEMS | 1368867.9571 | 736657.282 | 595593.6245 | 1161955.4754 | 1356146.15 | 2105525.2391 | 1951739.7745 | 153785.4646 | 1.0788
Income Eligible - PHES | 193462.4119 | 132033.3081 | 116798.2655 | 227864.0646 | 227864.0646 | 325495.72 | 344662.3301 | -19166.6101 | 0.94439
Income Eligible - AHNC | 44596.1243 | 17659.3383 | 10587.5946 | 10401.72 | 20321.5729 | 62255.4626 | 30909.1675 | 31346.2951 | 2.0141
Income Eligible Total | 5339185.3958 | 2994231.648 | 1638755.59 | 7594049.71 | 7798160.2374 | 8333417.0439 | 9436915.8274 | -1103498.7836 | 0.88307
EEPS Portfolio Costs |  |  | 4170337.41 |  |  | 0 | 4170337.41 | -4170337.41
EEPS Portfolio | 39867929.1587 | 22176125.4437 | 12056357.37 | 14861824.36 | 24697575.6362 | 62044054.6024 | 36753933.0062 | 25290121.5961 | 1.6881
* Excess Incentives are the amount that incentives are greater than estimated incremental measure costs, and if present, should be added to non-incentive costs. Since IMCs are estimated using TRM, planning, and secondary research, the IMC estimates may not include all relevant and up-to-date installation and equipment costs for some programs. After reviewing data, we set IMC equal to incentives for Income Eligible and Direct Installation Programs if incentives were greater than the initial IMC estimate. Incentives are allocated to C&I and Public Sector programs by gross therms and some programs appear to have excess incentives, however overall IMCs are greater than overall incentives for C&I and PS programs prior to allocating.

## 2019 UCT
Utility Cost Test (UCT) Results for Peoples Gas, 2019 Programs, WACC Discount Rate
Program | Benefits |  | Costs |  |  | Utility Cost Test (UCT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | UCT Benefits | UCT Costs | UCT Test Net Benefits | UCT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 446778.0499 |  | 247701.87 | 305355.57 | 305355.57 | 446778.0499 | 553057.44 | -106279.3901 | 0.80783
Home Energy Rebate | 3661299.7713 |  | 1024766.86 | 772960.89 | 2033302.7094 | 3661299.7713 | 1797727.75 | 1863572.0213 | 2.0366
Multi-Family | 9719173.3006 |  | 1263725.06 | 2745422.76 | 5611979.8201 | 9719173.3006 | 4009147.82 | 5710025.4806 | 2.4242
Home Energy Reports | 1328446.3759 |  | 505240.94 | 0 | 0 | 1328446.3759 | 505240.94 | 823205.4359 | 2.6293
Elementary Energy Education | 855423.2846 |  | 6.09 | 301347.1 | 301347.1 | 855423.2846 | 301353.19 | 554070.0946 | 2.8386
Residential Subtotal | 16011120.7824 | 0 | 3041440.82 | 4125086.32 | 8251985.1995 | 16011120.7824 | 7166527.14 | 8844593.6424 | 2.2342
C&I Prescriptive | 1902242.7627 |  | 636400.2769 | 745621.9708 | 518356.7702 | 1902242.7627 | 1382022.2477 | 520220.515 | 1.3764
C&I Custom | 1212248.3373 |  | 241580.3709 | 283041.4109 | 1503620 | 1212248.3373 | 524621.7818 | 687626.5555 | 2.3107
PS Prescriptive | 217522.4712 |  | 103742.7495 | 121547.5168 | 189966.3776 | 217522.4712 | 225290.2663 | -7767.795 | 0.96552
PS Custom | 42738.3008 |  | 8006.8972 | 9381.0746 | 49835 | 42738.3008 | 17387.9719 | 25350.3289 | 2.4579
C&I Gas Optimization | 691364.0845 |  | 160941.0382 | 188562.4166 | 547710 | 691364.0845 | 349503.4548 | 341860.6297 | 1.9781
Strategic Energy Management | 275683.9003 |  | 85734.3329 | 100448.4199 | 80132 | 275683.9003 | 186182.7529 | 89501.1474 | 1.4807
C&I and PS Joint Retro-Commissioning | 1010411.0954 |  | 238312.2719 | 279212.427 | 352634 | 1010411.0954 | 517524.6988 | 492886.3966 | 1.9524
C&I and PS Joint New Construction | 3419748.0021 |  | 497309.3925 | 582659.7234 | 3400162.92 | 3419748.0021 | 1079969.1159 | 2339778.8861 | 3.1665
Small Business | 2788044.7503 |  | 1233796.22 | 832213.37 | 2034597.3366 | 2788044.7503 | 2066009.59 | 722035.1603 | 1.3495
Total C&I and Public Sector | 11560003.7046 | 0 | 3205823.55 | 3142688.33 | 8677014.4044 | 11560003.7046 | 6348511.88 | 5211491.8246 | 1.8209
Income Eligible - CBA | 1858455.5999 |  | 549663.1547 | 4637625.77 | 4637625.77 | 1858455.5999 | 5187288.9247 | -3328833.3247 | 0.35827
Income Eligible - IHWAP-SF | 214931.2638 |  | 61498.4332 | 659738.0628 | 659738.0628 | 214931.2638 | 721236.4961 | -506305.2323 | 0.298
Income Eligible - IHWAP-MF | 122755.2113 |  | 28748.7411 | 308408.4872 | 308408.4872 | 122755.2113 | 337157.2283 | -214402.0169 | 0.36409
Income Eligible - MF LIHEAP Kits | 534877.8607 |  | 275865.7764 | 588056.13 | 588056.13 | 534877.8607 | 863921.9064 | -329044.0457 | 0.61913
Income Eligible - IEMS | 1077411.2566 |  | 595593.6245 | 1161955.4754 | 1356146.15 | 1077411.2566 | 1757549.0999 | -680137.8433 | 0.61302
Income Eligible - PHES | 159841.7717 |  | 116798.2655 | 227864.0646 | 227864.0646 | 159841.7717 | 344662.3301 | -184820.5584 | 0.46376
Income Eligible - AHNC | 32942.9383 |  | 10587.5946 | 10401.72 | 20321.5729 | 32942.9383 | 20989.3146 | 11953.6237 | 1.5695
Income Eligible Total | 4001215.9024 | 0 | 1638755.59 | 7594049.71 | 7798160.2374 | 4001215.9024 | 9232805.3 | -5231589.3976 | 0.43337
EEPS Portfolio Costs |  |  | 4170337.41 |  |  | 0 | 4170337.41 | -4170337.41
EEPS Portfolio | 31572340.3894 | 0 | 12056357.37 | 14861824.36 | 24727159.8413 | 31572340.3894 | 26918181.73 | 4654158.6594 | 1.1729