## PGL 2021 Verified Summary
Peoples Gas 2021 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | GHG Savings |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) |  |  | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 142211 | 100% | 142212 | 1670253.66 | 87.96% | 125094 | 1488910.76 | 6.2961 | 0.52898 | 787601.4 | 3469 | Participants | 661.8724 | 7877.8268 | 4764677.4812 | 31132938.588 | 11.7448
Home Energy Rebate | 659195 | 106% | 698941 | 9569704.0647 | 85.4% | 596916 | 7988377.9841 | 1.7648 | 0.13187 | 1053408.58 | 6629 | Participants | 3158.2826 | 42266.5079 | 0 | 0 | 13.6917
Multi-Family | 1702176 | 100.6% | 1711868 | 21754718.2 | 87.41% | 1496351 | 19005192.9 | 2.0586 | 0.16208 | 3080386.49 | 5053 | Projects | 7917.1931 | 100556.4756 | 10437098.1815 | 85958992.0165 | 12.7082
Home Energy Reports | 645654 | 119.1% | 769290 | 3846450 | 100% | 769290 | 3846450 | 0.35559 | 0.071117 | 273549.22 | 86875 | Participants | 4070.3134 | 20351.567 | 0 | 0 | 5
Elementary Energy Education | 159298.4309 | 127.2% | 202573.9631 | 1976835.5196 | 100% | 202573.9631 | 1976835.5196 | 1.2066 | 0.12364 | 244422.09 | 13959 | Kits Distributed | 1071.8188 | 10459.4367 | 47084474.0884 | 455459364.756 | 9.7586
Residential Total | 3308534.4309 | 106.5% | 3524884.9631 | 38817961.4443 | 90.51% | 3190224.9631 | 34305767.1637 | 1.705 | 0.15856 | 5439367.78 |  |  | 16879.4803 | 181511.8141 | 62286249.7511 | 572551295.3604 | 11.0125
C&I and PS Prescriptive | 3435223 | 100.1% | 3438710 | 18757859.6 | 91% | 3129228 | 17069663.7 | 1.877 | 0.3441 | 5873600.6149 | 427 | Projects | 16556.7453 | 90315.5906 | 5699170.0206 | 34195020.1237 | 5.4549
C&I and PS Custom | 784010 | 100.3% | 786343 | 11813827 | 74% | 581893 | 8742214 | 2.3037 | 0.15334 | 1340513.1539 | 39 | Projects | 3078.7959 | 46255.0543 | 0 | 0 | 15.0238
Gas Optimization | 75889 | 100.4% | 76228 | 1345682 | 91% | 69367 | 1224562 | 1.8706 | 0.10596 | 129756.2566 | 5 | Projects | 367.0208 | 6479.1575 | 0 | 0 | 17.6534
Strategic Energy Management | 246568 | 113.6% | 280162 | 1961134 | 100% | 280162 | 1961134 | 1.5048 | 0.21497 | 421586.0095 | 6 | Projects | 1482.3371 | 10376.36 | 0 | 0 | 7
C&I and PS Joint Retro-Commissioning | 425668 | 81.18% | 345575 | 2902830 | 94% | 324840 | 2728656 | 2.2405 | 0.26673 | 727814.1263 | 32 | Projects | 1718.7284 | 14437.3189 | 0 | 0 | 8.4
C&I and PS Joint New Construction | 370871 | 97.41% | 361270 | 7442162 | 54% | 195086 | 4018771.6 | 3.2505 | 0.15779 | 634121.3172 | 21 | Projects | 1032.2 | 21263.3205 | 0 | 0 | 20.6
Commercial Food Service | 39098 | 101.2% | 39553 | 475415.7 | 91% | 35992 | 432612.4 | 1.8574 | 0.15453 | 66850.4015 | 55 | Projects | 190.4337 | 2288.9522 | 74334.3009 | 1062980.5027 | 12.0197
Small Business | 906700 | 100% | 906881 | 7078211.5 | 92.12% | 835374 | 6519982.5 | 1.4993 | 0.1921 | 1252491.87 | 346 | Projects | 4419.9638 | 34497.2274 | 8751012.6435 | 54042027.9097 | 7.805
C&I and Public Sector Total | 6284027 | 99.22% | 6234722 | 51777121.8 | 87.44% | 5451942 | 42697596.2 | 1.9161 | 0.24467 | 10446733.75 |  |  | 28846.2251 | 225912.9815 | 14524516.965 | 89300028.536 | 8.3046
Income Eligible - CBA | 213032 | 99.89% | 212790 | 4244181 | 100% | 212790 | 4244181 | 5.1341 | 0.25741 | 1092483.21 | 899 | Participants | 1125.8719 | 22455.9617 | 58864.4916 | 588644.9164 | 19.9454
Income Eligible - IHWAP-SF | 49918 | 100.1% | 49946 | 866393.6639 | 100% | 49946 | 866393.6639 | 12.5408 | 0.72295 | 626361.9598 | 85 | Participants | 264.2643 | 4584.0889 | 81761.824 | 817618.2398 | 17.3466
Income Eligible - IHWAP-MF | 28817 | 85.38% | 24604 | 505020 | 100% | 24604 | 505020 | 14.6964 | 0.71599 | 361590.4602 | 4 | Projects | 130.1798 | 2672.0608 | 32964.5009 | 329645.0092 | 20.5259
Income Eligible - MF LIHEAP Kits | 627779 | 105% | 659273 | 6817740 | 100% | 659273 | 6817740 | 1.5096 | 0.14597 | 995218.7133 | 17521 | Kits Distributed | 3488.2134 | 36072.6623 | 26310989.708 | 256739978.6527 | 10.3413
Income Eligible - IEMS | 60148 | 101.4% | 60987 | 1132088 | 100% | 60987 | 1132088 | 8.0259 | 0.43236 | 489472.9461 | 385 | Projects | 322.6822 | 5989.8776 | 4008802.9741 | 34192578.5194 | 18.5628
Income Eligible - PTA | 1472463 | 99.98% | 1472151 | 19581977 | 100% | 1472151 | 19581977 | 0.33287 | 0.025025 | 490040.74 | 642 | Projects | 7789.1509 | 103608.2403 | 459217.8343 | 2755307.0055 | 13.3016
Income Eligible - PHES | 64928 | 103.8% | 67425 | 382452 | 100% | 67425 | 382452 | 7.8364 | 1.3815 | 528371.6739 | 38 | Projects | 356.7457 | 2023.5535 | 1032916.3416 | 6197498.0496 | 5.6723
Income Eligible - AHNC | 84524 | 99.14% | 83796 | 1449670.8 | 100% | 83796 | 1449670.8 | 1.5991 | 0.092432 | 133995.9867 | 5 | Projects | 443.3646 | 7670.2082 | 0 | 0 | 17.3
Income Eligible Total | 2601609 | 101.1% | 2630972 | 34979522.4639 | 100% | 2630972 | 34979522.4639 | 1.7931 | 0.13487 | 4717535.69 |  |  | 13920.4729 | 185076.6534 | 31985517.6745 | 301621270.3927 | 13.2953
EEPS Program Total | 12194170.4309 | 101.6% | 12390578.9631 | 125574605.7082 | 90.98% | 11273138.9631 | 111982885.8276 | 1.8277 | 0.18399 | 20603637.22 |  |  | 59646.1783 | 592501.4489 | 108796284.3906 | 963472594.2892 | 10.1347
Other EEPS Portfolio Costs | [9 empty] | 3871526.41
EEPS Portfolio Total | 12194170.4309 | 101.6% | 12390578.9631 | 125574605.7082 | 90.98% | 11273138.9631 | 111982885.8276 | 2.1711 | 0.21856 | 24475163.63 | NA |  | 59646.1783 | 592501.4489 | 108796284.3906 | 963472594.2892 | 10.1347

## PGL 2021 High Impact Measures
Peoples Gas 2021 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Project | Each | Participants | Apt Units | MBH | CFM | Square Feet | Linear Feet | HP | lbs-capacity | Rank | Share of Portfolio Gross | Cumulative Gross
Non-Residential | Steam Trap Replacement or Repair | 2288045 | 13728270 | 6 | 71 | 3160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 18.47% | 18.47%
Non-Residential | Custom | 1493154 | 19747704.6 | 13.2255 | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 12.05% | 30.52%
Residential | Pipe Insulation | 1213363 | 18200445 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 296833 | 0 | 0 | 3 | 9.793% | 40.31%
Non-Residential | Space Heating Boiler Tune-up | 1153435 | 3460305 | 3 | 0 | 0 | 0 | 0 | 2435741 | 0 | 0 | 0 | 0 | 0 | 4 | 9.309% | 49.62%
Residential | DHW Controls | 835392 | 12530880 | 15 | 0 | 0 | 0 | 13396 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 6.742% | 56.36%
Residential | Home Energy Reports | 769290 | 3846450 | 5 | 0 | 0 | 86875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6.209% | 62.57%
Residential | Air Sealing | 624648.37 | 8538205.4 | 13.6688 | 82 | 352172 | 0 | 0 | 0 | 1400514 | 1583898 | 334098 | 0 | 0 | 7 | 5.041% | 67.61%
Residential | Steam Trap Replacement or Repair | 535874 | 3215244 | 6 | 0 | 9559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 4.325% | 71.94%
Residential | Advanced Thermostats | 525441 | 5779851 | 11 | 0 | 6259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 4.241% | 76.18%
Non-Residential | Pipe Insulation | 480366 | 7205490 | 15 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 4420 | 0 | 0 | 10 | 3.877% | 80.05%
Non-Residential | Process Boiler Tune-up | 400627 | 1201881 | 3 | 0 | 0 | 0 | 0 | 391721 | 0 | 0 | 0 | 0 | 0 | 11 | 3.233% | 83.29%
Residential | Space Heating Boiler Tune-up | 287632 | 862896 | 3 | 0 | 0 | 0 | 0 | 658016 | 0 | 0 | 0 | 0 | 0 | 12 | 2.321% | 85.61%
Residential | Low Flow Showerheads | 250871.8022 | 2508718.0219 | 10 | 0 | 21575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 2.025% | 87.63%
Residential | Gas High Efficiency Furnace | 179328 | 3408334.6705 | 19.0061 | 0 | 855 | 0 | 0 | 843 | 0 | 0 | 0 | 0 | 0 | 14 | 1.447% | 89.08%
Residential | Steam Averaging Controls | 161261 | 3225220 | 20 | 0 | 939 | 0 | 1865 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1.301% | 90.38%
Non-Residential | Kitchen Demand Ventilation Controls | 142803 | 2844450 | 19.9187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 0 | 16 | 1.153% | 91.53%
Residential | Low Flow Faucet Aerators | 126974.147 | 1269741.4699 | 10 | 0 | 43791 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 1.025% | 92.56%
Residential | Custom | 125548 | 1973511.5 | 15.7192 | 14475 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 1.013% | 93.57%
Residential | High Efficiency Boiler | 115790 | 2803856.5 | 24.215 | 0 | 27 | 0 | 0 | 184631 | 0 | 0 | 0 | 0 | 0 | 19 | 0.9345% | 94.51%
Residential | Ceiling/Attic Insulation | 95699 | 1913980 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 876861 | 0 | 0 | 0 | 20 | 0.7724% | 95.28%
Residential | Shower Timer | 72663.8945 | 145327.7891 | 2 | 0 | 19494 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0.5864% | 95.86%
Residential | Programmable Thermostats | 70853 | 701496 | 9.9007 | 0 | 1516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0.5718% | 96.44%
Residential | Wall Insulation | 65482 | 1309640 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 547120 | 0 | 0 | 0 | 23 | 0.5285% | 96.97%
Residential | Boiler Lockout/Reset Controls | 48210 | 771360 | 16 | 0 | 0 | 0 | 0 | 36281 | 0 | 0 | 0 | 0 | 0 | 24 | 0.3891% | 97.35%
Non-Residential | Boiler Reset Controls | 42366 | 680004 | 16.0507 | 0 | 0 | 0 | 0 | 31560 | 0 | 0 | 0 | 0 | 0 | 25 | 0.3419% | 97.7%
Non-Residential | ENERGY STAR Fryer | 37222 | 466473 | 12.5322 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0.3004% | 98%
Non-Residential | Linkageless Controls | 31853 | 509648 | 16 | 0 | 0 | 0 | 0 | 56600 | 0 | 0 | 0 | 0 | 0 | 27 | 0.2571% | 98.25%
Non-Residential | Ozone Laundry | 31337 | 313370 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1020 | 28 | 0.2529% | 98.51%
Non-Residential | High Efficiency Boiler | 20573 | 514325 | 25 | 0 | 0 | 0 | 0 | 18866 | 0 | 0 | 0 | 0 | 0 | 29 | 0.166% | 98.67%
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 19184 | 95920 | 5 | 0 | 183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0.1548% | 98.83%
Non-Residential | Demand Controlled Ventilation | 16828 | 168280 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 247467 | 0 | 0 | 0 | 31 | 0.1358% | 98.96%
Non-Residential | High Speed Washer | 12365 | 86555 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2660 | 32 | 0.09979% | 99.06%
Non-Residential | Programmable Thermostats | 10414 | 114554 | 11 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0.08405% | 99.15%
Non-Residential | Advanced Thermostats | 9813 | 107943 | 11 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0.0792% | 99.23%
Residential | Gas High Efficiency Boiler | 9480 | 220666.383 | 23.277 | 0 | 8 | 0 | 0 | 4986 | 0 | 0 | 0 | 0 | 0 | 35 | 0.07651% | 99.3%
Residential | DHW Tank Insulation | 8280 | 124200 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 2092 | 0 | 0 | 0 | 36 | 0.06682% | 99.37%
Residential | Duct Insulation and Sealing | 8181 | 163620 | 20 | 0 | 17 | 0 | 0 | 0 | 1910 | 0 | 0 | 0 | 0 | 37 | 0.06603% | 99.44%
Non-Residential | Modulating Dryers | 7594 | 106316 | 14 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0.06129% | 99.5%
Non-Residential | Wireless Pneumatic Thermostat | 7174 | 71740 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 72632 | 0 | 0 | 0 | 39 | 0.0579% | 99.55%
Non-Residential | Boiler Chemical Descaling LP | 7048 | 42288 | 6 | 0 | 0 | 0 | 0 | 16800 | 0 | 0 | 0 | 0 | 0 | 40 | 0.05688% | 99.61%
Residential | Water Heater Temperature Setback | 6643.7493 | 13287.4987 | 2 | 0 | 17521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 0.05362% | 99.67%
Residential | Gas Water Heater | 5926 | 74253.1751 | 12.5301 | 0 | 90 | 0 | 0 | 204 | 0 | 0 | 0 | 0 | 0 | 42 | 0.04783% | 99.71%
Non-Residential | Direct Fired Heaters | 5870 | 88050 | 15 | 0 | 0 | 0 | 0 | 2332 | 0 | 0 | 0 | 0 | 0 | 43 | 0.04737% | 99.76%
Non-Residential | ENERGY STAR Convection Oven | 4698 | 56376 | 12 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0.03792% | 99.8%
Residential | Domestic Hot Water Pipe Insulation | 4422 | 66330 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6994 | 0 | 0 | 45 | 0.03569% | 99.83%
Non-Residential | Non-Res High Efficiency Furnace | 3953 | 65224.5 | 16.5 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0.0319% | 99.87%
Non-Residential | Combination Oven | 3897 | 46764 | 12 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 0.03145% | 99.9%
Residential | Draft Controls | 2373 | 35595 | 15 | 0 | 14286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 0.01915% | 99.92%
Non-Residential | Condensing Unit Heater | 2039 | 24468 | 12 | 0 | 0 | 0 | 0 | 1150 | 0 | 0 | 0 | 0 | 0 | 49 | 0.01646% | 99.93%
Residential | Linkageless Controls | 1578 | 25248 | 16 | 0 | 0 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | 0 | 50 | 0.01274% | 99.95%
Residential | Floor Insulation | 1415 | 28300 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 10997 | 0 | 0 | 0 | 51 | 0.01142% | 99.96%
Residential | Residential Furnace Tune-up | 1092 | 3276 | 3 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0.008813% | 99.97%
Non-Residential | DHW Tank Insulation | 1001 | 15015 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 187 | 0 | 0 | 0 | 53 | 0.008079% | 99.97%
Residential | Condensate Tank Insulation | 904 | 13560 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 137 | 0 | 0 | 0 | 54 | 0.007296% | 99.98%
Non-Residential | ENERGY STAR Dishwasher | 633 | 9257.7 | 14.6251 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 0.005109% | 99.99%
Residential | Foundation Wall Insulation | 557 | 11140 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 1695 | 0 | 0 | 0 | 56 | 0.004495% | 99.99%
Residential | Basement Sidewall Insulation | 447 | 8940 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 2152 | 0 | 0 | 0 | 57 | 0.003608% | 99.99%
Non-Residential | Gas Water Heater | 430 | 6450 | 15 | 0 | 0 | 0 | 0 | 598 | 0 | 0 | 0 | 0 | 0 | 58 | 0.00347% | 100%
Residential | Non-Res High Efficiency Furnace | 237 | 3910.5 | 16.5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 0.001913% | 100%
Portfolio |  | 12390578.9631 | 125574605.7082 | 10.1347

## PGL 2021 TRM Plan 3
Total Resource Cost Test (TRC) Results for Peoples Gas, 2021 Programs, Societal Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 556188.8176 | 480457.5515 | 420938.05 | 366663.35 | 366663.35 | 1036646.369 | 787601.4 | 249044.969 | 1.3162
Home Energy Rebate | 2992455.4392 | 1536036.1968 | 652351.38 | 401057.2 | 1447286.7086 | 4528491.636 | 2099638.0886 | 2428853.5474 | 2.1568
Multi-Family | 7111765.9668 | 3720606.2204 | 1222886.92 | 1857499.57 | 3965203.1895 | 10832372.1872 | 5188090.1095 | 5644282.0777 | 2.0879
Home Energy Reports | 1476847.5654 | 614447.4882 | 273549.22 | 0 | 0 | 2091295.0536 | 273549.22 | 1817745.8336 | 7.645
Elementary Energy Education | 748733.3446 | 3921323.117 | 0 | 244422.09 | 244422.09 | 4670056.4617 | 244422.09 | 4425634.3717 | 19.1065
Residential Total | 12885991.1336 | 10272870.5739 | 2569725.57 | 2869642.21 | 6023575.3381 | 23158861.7075 | 8593300.9081 | 14565560.7994 | 2.695
C&I and PS Prescriptive | 6517825.051 | 4417399.927 | 1498517.1014 | 4375083.5135 | 3318899.2596 | 10935224.978 | 4817416.361 | 6117808.617 | 2.2699
C&I and PS Custom | 3269856.4965 | 1360434.9955 | 342001.7835 | 998511.3704 | 2900832.9129 | 4630291.492 | 3242834.6964 | 1387456.7956 | 1.4279
Gas Optimization | 454932.0559 | 189276.0401 | 33104.3907 | 96651.8659 | 138117.0243 | 644208.096 | 171221.415 | 472986.681 | 3.7624
Strategic Energy Management | 748526.0063 | 311426.8088 | 107558.189 | 314027.8205 | 123284 | 1059952.8151 | 230842.189 | 829110.6261 | 4.5917
C&I and PS Joint Retro-Commissioning | 1109939.3039 | 461794.0492 | 185685.406 | 542128.7203 | 400127.3041 | 1571733.3531 | 585812.7101 | 985920.643 | 2.683
C&I and PS Joint New Construction | 1511218.6788 | 628747.7076 | 161781.7929 | 472339.5243 | 1079458.2392 | 2139966.3865 | 1241240.0321 | 898726.3543 | 1.7241
Commercial Food Service | 163083.5343 | 76542.456 | 17055.3765 | 49795.025 | 105907.9126 | 239625.9903 | 122963.2891 | 116662.7012 | 1.9488
Small Business | 2472227.6969 | 1616538.5456 | 639583.53 | 612908.34 | 996249.7679 | 4088766.2425 | 1635833.2979 | 2452932.9446 | 2.4995
C&I and Public Sector Total | 16247608.8235 | 9062160.5299 | 2985287.57 | 7461446.18 | 9062876.4206 | 25309769.3533 | 12048163.9906 | 13261605.3628 | 2.1007
Income Eligible - CBA | 1569360.5653 | 657600.2666 | 514438.44 | 578044.77 | 1497699.06 | 2226960.832 | 2012137.5 | 214823.332 | 1.1068
Income Eligible - IHWAP-SF | 321264.1123 | 140139.0711 | 94883.2671 | 531478.6927 | 1062957.3853 | 461403.1835 | 1157840.6524 | -696437.469 | 0.3985
Income Eligible - IHWAP-MF | 186313.208 | 80127.2385 | 54774.8529 | 306815.6073 | 613631.2147 | 266440.4465 | 668406.0676 | -401965.621 | 0.39862
Income Eligible - MF LIHEAP Kits | 2541683.8768 | 3229062.642 | 249227.7862 | 745990.9271 | 745990.9271 | 5770746.5188 | 995218.7133 | 4775527.8055 | 5.7985
Income Eligible - IEMS | 418797.3333 | 445959.5751 | 167612.7248 | 321860.2213 | 1074616.9 | 864756.9084 | 1242229.6248 | -377472.7165 | 0.69613
Income Eligible - PTA | 7330698.2952 | 3072191.0029 | 221654.56 | 268386.18 | 2957044.19 | 10402889.2981 | 3178698.75 | 7224190.5481 | 3.2727
Income Eligible - PHES | 146497.3604 | 110950.0077 | 180933.0152 | 347438.6587 | 574849.66 | 257447.368 | 755782.6752 | -498335.3071 | 0.34064
Income Eligible - AHNC | 560288.9525 | 233110.1378 | 33555.9638 | 100440.0229 | 253572 | 793399.0903 | 287127.9638 | 506271.1264 | 2.7632
Income Eligible Total | 13074903.7038 | 7969139.9418 | 1517080.61 | 3200455.08 | 8780361.3371 | 21044043.6455 | 10297441.9471 | 10746601.6984 | 2.0436
EEPS Portfolio Costs |  |  | 3871526.41 |  |  | 0 | 3871526.41 | -3871526.41
EEPS Portfolio | 42208503.6609 | 27304171.0456 | 10943620.16 | 13531543.47 | 23866813.0958 | 69512674.7064 | 34810433.2558 | 34702241.4506 | 1.9969
EEPS Portfolio without Income Eligible | 29133599.9571 | 19335031.1038 | 9426539.55 | 10331088.39 | 15086451.7587 | 48468631.0609 | 24512991.3087 | 23955639.7522 | 1.9773

## PGL 2021 TRC Plan 4
Total Resource Cost Test (TRC) Results for Peoples Gas, 2021 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 435956.6107 | 934526.979 | 420938.05 | 366663.35 | 366663.35 | 1370483.5897 | 787601.4 | 582882.1897 | 1.7401
Home Energy Rebate | 2351023.0964 | 3930341.3244 | 652351.38 | 401057.2 | 1447286.7086 | 6281364.4208 | 2099638.0886 | 4181726.3322 | 2.9916
Multi-Family | 5566037.7913 | 9532206.1144 | 1222886.92 | 1857499.57 | 3965203.1895 | 15098243.9057 | 5188090.1095 | 9910153.7962 | 2.9102
Home Energy Reports | 1073063.2888 | 1752887.5853 | 273549.22 | 0 | 0 | 2825950.8741 | 273549.22 | 2552401.6541 | 10.3307
Elementary Energy Education | 584148.4233 | 4516245.8209 | 0 | 244422.09 | 244422.09 | 5100394.2442 | 244422.09 | 4855972.1542 | 20.8672
Residential Total | 10010229.2105 | 20666207.8241 | 2569725.57 | 2869642.21 | 6023575.3381 | 30676437.0346 | 8593300.9081 | 22083136.1265 | 3.5698
C&I and PS Prescriptive | 4839922.4072 | 9713350.6972 | 1498517.1014 | 4375083.5135 | 3318899.2596 | 14553273.1044 | 4817416.361 | 9735856.7434 | 3.021
C&I and PS Custom | 2584780.314 | 4029517.4534 | 342001.7835 | 998511.3704 | 2900832.9129 | 6614297.7673 | 3242834.6964 | 3371463.0709 | 2.0397
Gas Optimization | 358879.4515 | 564403.4752 | 33104.3907 | 96651.8659 | 138117.0243 | 923282.9267 | 171221.415 | 752061.5117 | 5.3923
Strategic Energy Management | 560443.6153 | 894670.5211 | 107558.189 | 314027.8205 | 123284 | 1455114.1364 | 230842.189 | 1224271.9474 | 6.3035
C&I and PS Joint Retro-Commissioning | 857575.8782 | 1337918.1197 | 185685.406 | 542128.7203 | 400127.3041 | 2195493.998 | 585812.7101 | 1609681.2878 | 3.7478
C&I and PS Joint New Construction | 1187651.4362 | 1886832.2348 | 161781.7929 | 472339.5243 | 1079458.2392 | 3074483.671 | 1241240.0321 | 1833243.6389 | 2.4769
Commercial Food Service | 128404.421 | 207751.1358 | 17055.3765 | 49795.025 | 105907.9126 | 336155.5568 | 122963.2891 | 213192.2677 | 2.7338
Small Business | 1872711.9254 | 3616492.9888 | 639583.53 | 612908.34 | 996249.7679 | 5489204.9142 | 1635833.2979 | 3853371.6164 | 3.3556
C&I and Public Sector Total | 12390369.4489 | 22250936.6259 | 2985287.57 | 7461446.18 | 9062876.4206 | 34641306.0748 | 12048163.9906 | 22593142.0842 | 2.8752
Income Eligible - CBA | 1235786.0702 | 1960495.3269 | 514438.44 | 578044.77 | 1497699.06 | 3196281.3971 | 2012137.5 | 1184143.8971 | 1.5885
Income Eligible - IHWAP-SF | 252279.8689 | 405440.9502 | 94883.2671 | 531478.6927 | 1062957.3853 | 657720.8192 | 1157840.6524 | -500119.8333 | 0.56806
Income Eligible - IHWAP-MF | 146263.0008 | 234537.684 | 54774.8529 | 306815.6073 | 613631.2147 | 380800.6848 | 668406.0676 | -287605.3828 | 0.56971
Income Eligible - MF LIHEAP Kits | 1986288.6994 | 5289294.6104 | 249227.7862 | 745990.9271 | 745990.9271 | 7275583.3098 | 995218.7133 | 6280364.5964 | 7.3105
Income Eligible - IEMS | 328678.4285 | 791132.738 | 167612.7248 | 321860.2213 | 1074616.9 | 1119811.1665 | 1242229.6248 | -122418.4584 | 0.90145
Income Eligible - PTA | 5761220.536 | 9041340.2154 | 221654.56 | 268386.18 | 2957044.19 | 14802560.7514 | 3178698.75 | 11623862.0014 | 4.6568
Income Eligible - PHES | 107558.0018 | 224359.5274 | 180933.0152 | 347438.6587 | 574849.66 | 331917.5292 | 755782.6752 | -423865.146 | 0.43917
Income Eligible - AHNC | 442351.4396 | 695527.1584 | 33555.9638 | 100440.0229 | 253572 | 1137878.598 | 287127.9638 | 850750.6342 | 3.963
Income Eligible Total | 10260426.0452 | 18642128.2106 | 1517080.61 | 3200455.08 | 8780361.3371 | 28902554.2558 | 10297441.9471 | 18605112.3087 | 2.8068
EEPS Portfolio Costs |  |  | 3871526.41 |  |  | 0 | 3871526.41 | -3871526.41
EEPS Portfolio | 32661024.7046 | 61559272.6606 | 10943620.16 | 13531543.47 | 23866813.0958 | 94220297.3652 | 34810433.2558 | 59409864.1094 | 2.7067
EEPS Portfolio without Income Eligible | 22400598.6594 | 42917144.45 | 9426539.55 | 10331088.39 | 15086451.7587 | 65317743.1094 | 24512991.3087 | 40804751.8007 | 2.6646

## PGL 2021 PACT Plan 3
Program Administrator Cost Test (PACT) Results for Peoples Gas, 2021 Programs, WACC Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 430135.7471 |  | 420938.05 | 366663.35 | 366663.35 | 430135.7471 | 787601.4 | -357465.6529 | 0.54613
Home Energy Rebate | 2352117.2898 |  | 652351.38 | 401057.2 | 1470015.4894 | 2352117.2898 | 1053408.58 | 1298708.7098 | 2.2329
Multi-Family | 5553185.4708 |  | 1222886.92 | 1857499.57 | 3965203.1895 | 5553185.4708 | 3080386.49 | 2472798.9808 | 1.8028
Home Energy Reports | 1348597.3907 |  | 273549.22 | 0 | 0 | 1348597.3907 | 273549.22 | 1075048.1707 | 4.93
Elementary Energy Education | 630370.526 |  | 0 | 244422.09 | 244422.09 | 630370.526 | 244422.09 | 385948.436 | 2.579
Residential Subtotal | 10314406.4243 | 0 | 2569725.57 | 2869642.21 | 6046304.1189 | 10314406.4243 | 5439367.78 | 4875038.6443 | 1.8963
C&I and PS Prescriptive | 5711853.304 |  | 1498517.1014 | 4375083.5135 | 3318899.2596 | 5711853.304 | 5873600.6149 | -161747.311 | 0.97246
C&I and PS Custom | 2543560.5047 |  | 342001.7835 | 998511.3704 | 2900832.9129 | 2543560.5047 | 1340513.1539 | 1203047.3508 | 1.8975
Gas Optimization | 339369.7516 |  | 33104.3907 | 96651.8659 | 138117.0243 | 339369.7516 | 129756.2566 | 209613.495 | 2.6154
Strategic Energy Management | 660809.9139 |  | 107558.189 | 314027.8205 | 123284 | 660809.9139 | 421586.0095 | 239223.9044 | 1.5674
C&I and PS Joint Retro-Commissioning | 948549.996 |  | 185685.406 | 542128.7203 | 400127.3041 | 948549.996 | 727814.1263 | 220735.8697 | 1.3033
C&I and PS Joint New Construction | 1077769.8952 |  | 161781.7929 | 472339.5243 | 1079458.2392 | 1077769.8952 | 634121.3172 | 443648.578 | 1.6996
Commercial Food Service | 132883.1992 |  | 17055.3765 | 49795.025 | 105907.9126 | 132883.1992 | 66850.4015 | 66032.7977 | 1.9878
Small Business | 2096909.0278 |  | 639583.53 | 612908.34 | 996249.7679 | 2096909.0278 | 1252491.87 | 844417.1578 | 1.6742
Total C&I and Public Sector | 13511705.5923 | 0 | 2985287.57 | 7461446.18 | 9062876.4206 | 13511705.5923 | 10446733.75 | 3064971.8423 | 1.2934
Income Eligible - CBA | 1136073.6841 |  | 514438.44 | 578044.77 | 1497699.06 | 1136073.6841 | 1092483.21 | 43590.4741 | 1.0399
Income Eligible - IHWAP-SF | 236862.0382 |  | 94883.2671 | 531478.6927 | 1062957.3853 | 236862.0382 | 626361.9598 | -389499.9215 | 0.37816
Income Eligible - IHWAP-MF | 133158.3984 |  | 54774.8529 | 306815.6073 | 613631.2147 | 133158.3984 | 361590.4602 | -228432.0618 | 0.36826
Income Eligible - MF LIHEAP Kits | 1939233.6178 |  | 249227.7862 | 745990.9271 | 745990.9271 | 1939233.6178 | 995218.7133 | 944014.9044 | 1.9486
Income Eligible - IEMS | 304983.5147 |  | 167612.7248 | 321860.2213 | 1074616.9 | 304983.5147 | 489472.9461 | -184489.4314 | 0.62309
Income Eligible - PTA | 5739484.1593 |  | 221654.56 | 268386.18 | 2957044.19 | 5739484.1593 | 490040.74 | 5249443.4193 | 11.7123
Income Eligible - PHES | 132015.5563 |  | 180933.0152 | 347438.6587 | 574849.66 | 132015.5563 | 528371.6739 | -396356.1176 | 0.24985
Income Eligible - AHNC | 417308.304 |  | 33555.9638 | 100440.0229 | 253572 | 417308.304 | 133995.9867 | 283312.3173 | 3.1143
Income Eligible Total | 10039119.2729 | 0 | 1517080.61 | 3200455.08 | 8780361.3371 | 10039119.2729 | 4717535.69 | 5321583.5829 | 2.128
EEPS Portfolio Costs |  |  | 3871526.41 |  |  | 0 | 3871526.41 | -3871526.41
EEPS Portfolio | 33865231.2895 | 0 | 10943620.16 | 13531543.47 | 23889541.8766 | 33865231.2895 | 24475163.63 | 9390067.6595 | 1.3837
EEPS Portfolio without Income Eligible | 23826112.0166 | 0 | 9426539.55 | 10331088.39 | 15109180.5395 | 23826112.0166 | 19757627.94 | 4068484.0766 | 1.2059

## PGL 2021 PACT Plan 4
Program Administrator Cost Test (PACT) Results for Peoples Gas, 2021 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 334720.7633 |  | 420938.05 | 366663.35 | 366663.35 | 334720.7633 | 787601.4 | -452880.6367 | 0.42499
Home Energy Rebate | 1835323.9383 |  | 652351.38 | 401057.2 | 1470015.4894 | 1835323.9383 | 1053408.58 | 781915.3583 | 1.7423
Multi-Family | 4314754.3792 |  | 1222886.92 | 1857499.57 | 3965203.1895 | 4314754.3792 | 3080386.49 | 1234367.8892 | 1.4007
Home Energy Reports | 978447.5148 |  | 273549.22 | 0 | 0 | 978447.5148 | 273549.22 | 704898.2948 | 3.5769
Elementary Energy Education | 488078.059 |  | 0 | 244422.09 | 244422.09 | 488078.059 | 244422.09 | 243655.969 | 1.9969
Residential Subtotal | 7951324.6546 | 0 | 2569725.57 | 2869642.21 | 6046304.1189 | 7951324.6546 | 5439367.78 | 2511956.8746 | 1.4618
C&I and PS Prescriptive | 4218817.4895 |  | 1498517.1014 | 4375083.5135 | 3318899.2596 | 4218817.4895 | 5873600.6149 | -1654783.1254 | 0.71827
C&I and PS Custom | 1995866.712 |  | 342001.7835 | 998511.3704 | 2900832.9129 | 1995866.712 | 1340513.1539 | 655353.5581 | 1.4889
Gas Optimization | 266120.7827 |  | 33104.3907 | 96651.8659 | 138117.0243 | 266120.7827 | 129756.2566 | 136364.5261 | 2.0509
Strategic Energy Management | 492898.3372 |  | 107558.189 | 314027.8205 | 123284 | 492898.3372 | 421586.0095 | 71312.3277 | 1.1692
C&I and PS Joint Retro-Commissioning | 728014.9576 |  | 185685.406 | 542128.7203 | 400127.3041 | 728014.9576 | 727814.1263 | 200.8312 | 1.0003
C&I and PS Joint New Construction | 843424.6909 |  | 161781.7929 | 472339.5243 | 1079458.2392 | 843424.6909 | 634121.3172 | 209303.3737 | 1.3301
Commercial Food Service | 103807.9714 |  | 17055.3765 | 49795.025 | 105907.9126 | 103807.9714 | 66850.4015 | 36957.5698 | 1.5528
Small Business | 1577993.7465 |  | 639583.53 | 612908.34 | 996249.7679 | 1577993.7465 | 1252491.87 | 325501.8765 | 1.2599
Total C&I and Public Sector | 10226944.6878 | 0 | 2985287.57 | 7461446.18 | 9062876.4206 | 10226944.6878 | 10446733.75 | -219789.0622 | 0.97896
Income Eligible - CBA | 890130.773 |  | 514438.44 | 578044.77 | 1497699.06 | 890130.773 | 1092483.21 | -202352.437 | 0.81478
Income Eligible - IHWAP-SF | 184962.4117 |  | 94883.2671 | 531478.6927 | 1062957.3853 | 184962.4117 | 626361.9598 | -441399.548 | 0.2953
Income Eligible - IHWAP-MF | 104134.806 |  | 54774.8529 | 306815.6073 | 613631.2147 | 104134.806 | 361590.4602 | -257455.6543 | 0.28799
Income Eligible - MF LIHEAP Kits | 1504288.5928 |  | 249227.7862 | 745990.9271 | 745990.9271 | 1504288.5928 | 995218.7133 | 509069.8795 | 1.5115
Income Eligible - IEMS | 238357.2132 |  | 167612.7248 | 321860.2213 | 1074616.9 | 238357.2132 | 489472.9461 | -251115.7329 | 0.48697
Income Eligible - PTA | 4476288.4087 |  | 221654.56 | 268386.18 | 2957044.19 | 4476288.4087 | 490040.74 | 3986247.6687 | 9.1345
Income Eligible - PHES | 96707.1565 |  | 180933.0152 | 347438.6587 | 574849.66 | 96707.1565 | 528371.6739 | -431664.5174 | 0.18303
Income Eligible - AHNC | 327450.3452 |  | 33555.9638 | 100440.0229 | 253572 | 327450.3452 | 133995.9867 | 193454.3585 | 2.4437
Income Eligible Total | 7822319.7072 | 0 | 1517080.61 | 3200455.08 | 8780361.3371 | 7822319.7072 | 4717535.69 | 3104784.0172 | 1.6581
EEPS Portfolio Costs |  |  | 3871526.41 |  |  | 0 | 3871526.41 | -3871526.41
EEPS Portfolio | 26000589.0497 | 0 | 10943620.16 | 13531543.47 | 23889541.8766 | 26000589.0497 | 24475163.63 | 1525425.4197 | 1.0623
EEPS Portfolio without Income Eligible | 18178269.3425 | 0 | 9426539.55 | 10331088.39 | 15109180.5395 | 18178269.3425 | 19757627.94 | -1579358.5975 | 0.92006