## Sheet1
Pre | [6 empty] | Post
Gas furnace | 0.75 | AFUE |  |  |  |  | ASHP | 10 | HSPF
[8 empty] | 2.9308 | COP
Capacity | 85000 | BTU |  |  |  |  | Capacity | 40000
EFLH | 976 | [5 empty] | EFLH | 1840
Heat consumption | 110.6133 | MMBtu |  |  |  |  | Heat consumption | 25.1123 | MMBtu | 85.501 | Reduction in heat consumption
Heat load | 82.96 | MMBtu | ------------ | Shell measures | -----------> |  | Heat load | 73.6 | MMBtu | 9.36 | Reduction in heat load
R | 10 | [5 empty] | R | 38
Area | 1035.1764
HDD | 5113
| Claiming shell measures first |  |  | Shell savings | 12.48 | MMBtu | gas |  |  | 9.36 | Reduction in heat load
|  |  |  | HVAC upgrade | 73.021 | MMBtu
85.501
| Claiming HVAC upgrade first |  |  | HVAC upgrade | 82.3074 | MMBtu
|  |  |  | Shell savings | 3.1936 | MMBtu | electric |  |  | 9.36 | Reduction in heat load
85.501

## Sheet2
Pre | [6 empty] | Post
Gas furnace | 0.75 | AFUE |  |  |  |  | Gas Furnace | 0.9 | AFUE
Capacity | 85000 | BTU |  |  |  |  | Capacity | 75000
EFLH | 976 | [5 empty] | EFLH | 976
Heat consumption | 110.6133 | MMBtu |  |  |  |  | Heat consumption | 81.3333 | MMBtu | 29.28
Heat load | 82.96 | MMBtu | ------------ | Shell measures | -----------> |  | Heat load | 73.2 | MMBtu | 9.76
R | 10 | [5 empty] | R | 38
Area | 1050
HDD | 5113
| Claiming shell measures first |  |  | Shell savings | 12.6587 | MMBtu | gas
|  |  |  | HVAC upgrade | 16.2667 | MMBtu
28.9254
| Claiming HVAC upgrade first |  |  | HVAC upgrade | 18.4356 | MMBtu
|  |  |  | Shell savings | 10.5489 | MMBtu | electric
28.9845